Table 1:  Measurement techniques and the analytes that can be measured (marked by an X).

|  | Time Resolution | FP | Gas Analyzers (cap, annual) | URG denuder/FP SuperSASS (2.5 size cut) | MPI (MARGA - URG AIM) | GREGOR | NADP NTN | Passive Device3 | NCORE | MOBILE | MET RM YOUNG |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NO2 | bi-wk/hr |  | X ($20, $18K) |  |  |  |  | X |  |  |  |
| NO-NOy | bi-wk/sub hr |  | X ($20, $30K) |  |  | X |  | X (NO) | X |  |  |
| HNO3 | wk/24hr | X |  | X | X | X |  | X |  | X |  |
| NO3 | wk/24hr | X |  | X | X | X |  |  |  | X |  |
| NH4 | bi-wk/24hr | X |  | X | X | X |  |  |  | X |  |
| NH3 | wk/24hr |  | X ($25, $30K) | X | X | X |  | X |  | X |  |
| SO2 | wk/24hr/hr | X | X1 ($12.5, $18K) | X | X | X |  |  | X | X |  |
| SO4 | wk/24hr/hr | X | X (27k, 18k) | X | X | X |  |  |  | X |  |
| CATIONS | wk | X |  | X | X | X |  |  |  | X |  |
| O3 | hr |  | X ($10, $18K) |  |  |  |  | X | X |  |  |
| CO | hr |  | X ($12.5, $18K) |  |  |  |  |  | X |  |  |
| MET4 | hr |  |  |  |  |  |  |  | X |  | X |
| FLUX | hr |  |  |  |  | X |  |  |  |  |  |
| Wet Deposition | wk |  |  |  |  |  | X |  | X2 |  |  |
| PM-2.5 (FRM) | 24hr 1/3 d |  |  |  |  |  |  |  | X |  |  |
| PM2.5 mass continuous | hr |  |  |  |  |  |  |  | X |  |  |
| PM2.5 speciation | 24hr 1/3 d |  |  |  |  |  |  |  | X |  |  |
| PM10-2.5 mass PM10-2.5 speciation | hr |  |  |  |  |  |  |  | X |  |  |
| CAP COST |  | 3K |  | 40K | 130K | 280K | 12K | 1.2K | 155K | 130K | 20K |
| ANN COST |  | 10K |  | 108-120K | 120K | ?? | 12K | 6K | 357.6K | 180K | 24K |

Notes and Assumptions:

Costs are per/site or (in parenthesis) per/instrument

Semi-annual calibrations used for annual cost estimates.

The annual costs for the analyzers usually includes: lab analysis, calibrations, maintenance, repair, data management

NCORE	Lab PM2.5 costs = 56.4K

Lab PM2.5-10 = 56.4K

NH3 continuous gas analyzer cost from Pranalytica Nitrolux

Mobile unit is based on a traveling MPI with a 3-6 month long site visit, travel, and skilled technician including truck/trailer.  Other instruments, not included in current estimate.

Passives: 1.2k each for the device and 6k in operating costs of bi-weekly samples (26 samples) plus shipping.

1 Model 5020 Sulfate Particle Analyzer is PM2.5

2 NCORE annual costs does include wet deposition:

3 Passive device cap and annual costs are based on one NH3 passive device

4  Meteorology: WS, WD, 2-9m TEMP, UV, RH, WETNESS, PRECIP, BP

The annual, captital, and installation costs for a single CASTNET site can be broken out as follows:

1) Annual cost of operation of 1 CASTNET site (without collaboration) = 42-48K

(labor/site operator 12K, maintenance 3.6K, calibrations 3.6K, lab analysis 10K (based on 60 samples), data management 6K, utilities 6K, land lease 2.4K)

Thus, the annual site cost (without accounting for the filter pack lab costs) would be 33.6k.  This does include the costs for met.  For consistency with the 12k/yr estimate for the annual costs of met from NCORE, we allocate 12k of the 33.6k/yr cost to the standard meteorological measurements.

2) Total capital costs for monitoring equipment of CASTNET suite of measurements = 50 K  (met $6500, ozone 10K, filterpack 3K, towers 3K, datalogger 8K, shelter 20K)

3) Installation of CASTNET site (labor, travel, equipment, site materials, training) = 98K

(varies on availability of power, phone, site requirements)

labor - 12 K

travel/per diem - 18 K

equipment - 40 K

site materials - 10 K

training, shipping, utility setup - 18 K