## Hg_Min_Tests
Key | primary_fuel | Hg_Min_lb_per_MWh_Rank | Reason_for_Removal | ORIS code | Plant Name | physical_state | NonContIndicator | Unit Number | boiler_id | Unit Type | boiler_type | MWe_capacity | max_heat_input | Unit_heat_rate | Fuel_types | fuel | Fuel_Conc_lb/MMBtu | Mercury - ERT | Mercury MW - ERT | Mercury - ETTS | Mercury MW - ETTS | Mercury - CEMS | Mercury - Part II | Mercury MW - Part II | Mercury - min | Mercury MW - min | control_group_1 | control_type_1 | install_date_1 | control_group_2 | control_type_2 | install_date_2 | control_group_3 | control_type_3 | install_date_3 | control_group_4 | control_type_4 | install_date_4 | control_group_5 | control_type_5 | install_date_5 | control_group_6 | control_type_6 | install_date_6 | control_group_7 | control_type_7 | install_date_7 | control_group_8 | control_type_8 | install_date_8 | control_group_9 | control_type_9 | install_date_9 | control_group_10 | control_type_10 | install_date_10 | control_group_11 | control_type_11 | install_date_11 | control_group_12 | control_type_12 | install_date_12
52071_5B | coal | 1 |  | 52071 | Sandow Station | TX |  | 5B | 5B | Fluidized bed firing | Fluidized bed firing | 282.35 | 2960 | 10.4834 | lignite | lignite | 3.1339e-05 |  |  | 5.6e-06 | 5.8707e-05 |  | 1.0232e-06 | 1.0726e-05 | 1.0232e-06 | 1.0726e-05 | NOx control | Selective Noncatalytic Reduction | 2009-07-01 | Other control | Activated carbon injection | 2009-08-01 | SO2 control | Dry FGD - Circulating Dry Scrubber | 2009-07-01 | PM control | Fabric Filter, pulse | 2009-07-01
6180_1 | coal | 2 |  | 6180 | Oak Grove | TX |  | OG1 | 1 | Conventional Boiler | Tangential firing | 817 | 8970 | 10.9792 | lignite | lignite | 2.127e-05 |  |  | 1.1113e-06 | 1.2202e-05 |  | 3.871e-06 | 4.25e-05 | 1.1113e-06 | 1.2202e-05 | NOx control | Selective Catalytic Reduction | 2009-08-01 | Other control | Activated carbon injection | 2009-08-01 | PM control | Fabric Filter, pulse | 2009-08-01 | SO2 control | Wet FGD - Spray Type | 2009-08-01
52071_5A | coal | 3 |  | 52071 | Sandow Station | TX |  | 5A | 5A | Fluidized bed firing | Fluidized bed firing | 282.35 | 2960 | 10.4834 | lignite | lignite | 2.9851e-05 |  |  | 3.7467e-06 | 3.9278e-05 |  | 1.4463e-06 | 1.5163e-05 | 1.4463e-06 | 1.5163e-05 | NOx control | Selective Noncatalytic Reduction | 2009-08-01 | Other control | Activated carbon injection | 2009-08-01 | SO2 control | Dry FGD - Circulating Dry Scrubber | 2009-08-01 | PM control | Fabric Filter, pulse | 2009-08-01
55076_AA-001 | coal | 4 |  | 55076 | Red Hills Generating Facility | MS |  | 001 | AA-001 | Fluidized bed firing | Fluidized bed firing | 250 | 2401 | 9.604 | lignite | lignite | 2.3628e-05 | 1.0771e-05 | 0.00010344 |  |  |  | 3.8739e-06 | 3.7205e-05 | 3.8739e-06 | 3.7205e-05 | PM control | Fabric Filter, unspecified | 2002-05-01
55076_AA-002 | coal | 5 |  | 55076 | Red Hills Generating Facility | MS |  | 002 | AA-002 | Fluidized bed firing | Fluidized bed firing | 250 | 2382.3 | 9.5292 | lignite | lignite | 2.3628e-05 | 1.0771e-05 | 0.00010264 |  |  |  | 3.9043e-06 | 3.7205e-05 | 3.9043e-06 | 3.7205e-05 | PM control | Fabric Filter, unspecified | 2002-05-01
7030_U2 | coal | 6 |  | 7030 | Twin Oaks Power One | TX |  | U2 | U2 | Fluidized bed firing | Fluidized bed firing | 172 | 1717 | 9.9826 | lignite | lignite | 2.7596e-05 | 6.8765e-06 | 6.8645e-05 | [5 empty] | 6.8765e-06 | 6.8645e-05 | PM control | Fabric Filter, reverse air | 1990-08-01
6147_2 | coal | 7 |  | 6147 | Monticello | TX |  | 2 | 2 | Conventional Boiler | Tangential firing | 583 | 7000 | 12.0069 | lignite | lignite |  |  |  | 6.6933e-06 | 8.0366e-05 |  |  |  | 6.6933e-06 | 8.0366e-05 | NOx control | Selective Noncatalytic Reduction | 2008-11-01 | Other control | Activated carbon injection | 2009-02-01 | PM control | Fabric Filter, shake and deflate | 1975-12-01 | PM control | Electrostatic precipitator, cold side, w/ flue gas conditioning | 1975-12-01
6030_1 | coal | 8 |  | 6030 | Coal Creek | ND |  | Unit 1b | 1 | Conventional Boiler | Tangential firing | 619 | 6015 | 9.7173 | coal - lignite | lignite | [6 empty] | 1.0921e-05 | 0.00010612 | 1.0921e-05 | 0.00010612 | PM control | Electrostatic precipitator, cold side, w/o flue gas conditioning | 1979-08-01 | SO2 control | Wet FGD - Spray Type | 1979-08-01
6183_SM-1 | coal | 9 |  | 6183 | San Miguel | TX |  | SMEC1 | SM-1 | Conventional Boiler | Wall firing - opposed firing | 440 | 4980 | 11.3182 | coal - lignite | lignite | [6 empty] | 1.0845e-05 | 0.00012275 | 1.0845e-05 | 0.00012275 | PM control | Electrostatic precipitator, cold side, w/o flue gas conditioning | 1982-01-01 | SO2 control | Wet FGD - Tray Type | 1982-01-01
2817_1 | coal | 10 |  | 2817 | Leland Olds | ND |  | 1 | 1 | Conventional Boiler | Wall firing - opposed firing | 230 | 2622 | 11.4 | coal - lignite | lignite | [6 empty] | 0.0052632 | 0.06 | 0.0052632 | 0.06 | PM control | Electrostatic precipitator, cold side, w/o flue gas conditioning | 1974-11-01
6469_B1 | coal | 11 |  | 6469 | Antelope Valley Station | ND |  | AVS Unit 1 | B1 | Conventional Boiler | Tangential firing | 450 | 6275 | 13.9444 | coal - lignite | lignite | [6 empty] | 0.0050916 | 0.071 | 0.0050916 | 0.071 | SO2 control | Dry FGD - Spray Dryer | 1984-07-01 | PM control | Fabric Filter, reverse air | 1984-07-01

## Hg_Variability_Tests
facility_name | facility_id | boiler_id | configuration_id | compound | Final_EF | Final_EF_Units | Final_Output_EF | Final_Output_EF_Units | From | Report_id | Hg_Min_lb_per_MWh_Rank | New Souce MACT Floor Test_ID | New Source MACT Floor QA Calc (lb/MWh) | New Source Floor Agreement of QA Calc | Run 1 (lb/MWh) | Run 2 (lb/MWh) | Run 3 (lb/MWh)
Sandow Station | 52071 | 5B | 5B | Mercury | 1.0232e-06 | lb/MMBtu | 1.0726e-05 | lb/MW | Part II | 2-Source Emissions Survey, Stacks | 1 | 2_Hg_T2 | 1.0726e-05 | 100% | 7.0451e-06 | 9.8506e-06 | 1.5283e-05
Sandow Station | 52071 | 5B | 5B | Mercury | 1.2386e-06 | lb/MMBtu | 1.2985e-05 | lb/MW | Part II | 3-Source Emissions Survey, Inlet Ducts and Stacks | 1 | 2_Hg_T3 | 1.2985e-05 | 100% | 9.8361e-06 | 1.3245e-05 | 1.5873e-05
Sandow Station | 52071 | 5B | 5B | Mercury | Invalid Test Avg | lb/MMBtu | Invalid Test Avg | lb/MW | ETTS |  | 1 | Invalid Test Avg | 5.8393e-05 | 100.3% | 5.8393e-05 | Failed Spike Recovery | Failed Spike Recovery | Run 1 is a Far Outlier based on Tukey's tests for near and far outliers.
Oak Grove | 6180 | 1 | OG1 | Mercury | 1.1113e-06 | lb/MMBtu | 1.2202e-05 | lb/MW | ETTS |  | 2
Oak Grove | 6180 | 1 | OG1 | Mercury | 3.871e-06 | lb/MMBtu | 4.25e-05 | lb/MW | Part II | 1-Compliance Test Report | 2
Sandow Station | 52071 | 5A | 5A | Mercury | 1.4463e-06 | lb/MMBtu | 1.5163e-05 | lb/MW | Part II | 2-Source Emissions Survey, Stacks | 3
Sandow Station | 52071 | 5A | 5A | Mercury | 1.8932e-06 | lb/MMBtu | 1.9847e-05 | lb/MW | Part II | 3-Source Emissions Survey, Inlet Ducts and Stacks | 3
Sandow Station | 52071 | 5A | 5A | Mercury | 3.7467e-06 | lb/MMBtu | 3.9278e-05 | lb/MW | ETTS |  | 3
Red Hills Generating Facility | 55076 | AA-001 | 001 | Mercury | 3.8739e-06 | lb/MMBtu | 3.7205e-05 | lb/MW | Part II | 06-05 | 4
Red Hills Generating Facility | 55076 | AA-001 | 001 | Mercury | 1.0771e-05 | lb/MMBtu | 0.00010344 | lb/MW | ERT |  | 4
Red Hills Generating Facility | 55076 | AA-002 | 002 | Mercury | 3.9043e-06 | lb/MMBtu | 3.7205e-05 | lb/MW | Part II | 06-05 | 5
Red Hills Generating Facility | 55076 | AA-002 | 002 | Mercury | 1.0771e-05 | lb/MMBtu | 0.00010264 | lb/MW | ERT |  | 5
Twin Oaks Power One | 7030 | U2 | U2 | Mercury | 6.8765e-06 | lb/MMBtu | 6.8645e-05 | lb/MW | ERT |  | 6
Monticello | 6147 | 2 | 2 | Mercury | 6.6933e-06 | lb/MMBtu | 8.0366e-05 | lb/MW | ETTS |  | 7
Coal Creek | 6030 | 1 | Unit 1b | Mercury | 1.0921e-05 | lb/MMBtu | 0.00010612 | lb/MW | Part II | DryFining Baseline\01 | 8
San Miguel | 6183 | SM-1 | SMEC1 | Mercury | 1.0845e-05 | lb/MMBtu | 0.00012275 | lb/MW | Part II | Demonstration of Sorbent Enhancement | 9
San Miguel | 6183 | SM-1 | SMEC1 | Mercury | 1.9422e-05 | lb/MMBtu | 0.00021982 | lb/MW | Part II | Assessment of Mercury Control Options | 9
Leland Olds | 2817 | 1 | 1 | Mercury | 0.0052632 | lb/MMBtu | 0.06 | lb/MW | Part II | LOS Mercury Alstom Demo | 10
Antelope Valley Station | 6469 | B1 | AVS Unit 1 | Mercury | 0.0050916 | lb/MMBtu | 0.071 | lb/MW | Part II | AVS Mercury Demo | 11
Note on P4: stboone: Spike Recovery = 108%

## Lignite_NonNorm_UPL_1Outlier
Emissions
Runs | 52071 Sandow 5B
1 | 7.0451e-06
2 | 9.8506e-06
3 | 1.5283e-05
4 | 9.8361e-06
5 | 1.3245e-05
6 | 1.5873e-05
7 | 5.8393e-05 | [10 empty] | Outlier | (When Outlier is included, data distribution is non-normal)
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
Testing Normality | Raw Data
Sample Size | 7
Kurtosis | 6.3037 |  |  | ### Make sure that kurtosis and skewness are copied in "Calculations for Template", in cells H14 and H12 respectively
SE Kurtosis | 1
Result Kurtosis | non normal
Skewness | 2.4698
SE Skewness | 0.79373 |  | RESULT
Result Skewness | non normal |  | non normal
ni = number test runs = | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Number of sources = | 1
n =Total # test runs = | 7
6
This step is for QC only:
means | 1.8504e-05
1.8504e-05
Mean =
Pooled Variance = |  |  | 3.1956e-10
m= number future runs = | 3
Term1 | 0.47619
Term2 | 1.5217e-10
Squared root Term2 |  | 1.2336e-05
NOTE: the pvalue for the t-statistic is calculated as: 2*alpha, where 1-alpha is desired confidence, so if 99% confidence is desired then alpha=0.01 and 2*alpha=2*(0.01)
t-statistic | = quantile t-distribution with df degrees of freedom at .99 confidence level = | [5 empty] | 3.1427
Adjustment for non-normality (skewness and kurtosis) for any sample size in particular for small samples
a) n = number of test-runs = | [8 empty] | 7
b) Calculate u0 | [8 empty] | 0.37792
| Current Confidence Level is |  |  | 99.13%
Conclusion | Confidence Level is not 99%, Go to recalculate tab to fix the Confidence Level
| interval of differences for t-values used |  |  | 0.453
| new t-statistic from tab Recalculate t-statistic |  |  | 5.8607
Adjusted UPL for skewness and kurtosis for all sample size |  |  |  | 9.08e-05 | lb/MWh
|  |  |  | 0.0908 | lb/GWhr

## Hg_QA_Calcs
[7 empty] | Anthracite |  | Anthracite |  |  | fPM | 30B |  | μg/dscm | No |  | μg/dscm | 2.2046e-09 | lbs/μg | 0.028317 |  |  |  | cm/cf |  |  |  |  | lb/hr |  |  | lb/MMBtu | [10 empty] | From |  | original database export===> | [20 empty] | 7.0451e-06
[7 empty] | Bituminous |  | Bituminous |  |  | Se | M5 |  | lb/dscf | Yes |  | ppm | 2.2046e-12 | lb/mg | [12 empty] | lb/MWh | [10 empty] | Min |  | original database export===> | [20 empty] | 9.8506e-06
[7 empty] | Lignite |  | Lignite |  |  | Pb | M5B |  | ppm |  |  |  |  | lb/scf | [23 empty] | Test |  | original database export===> | [20 empty] | 1.5283e-05
[7 empty] | Oil |  | Oil |  |  | Hg | M29 |  | ppm @ 3% O2 | [28 empty] | Sheet |  | original database export===>
[7 empty] | Pet Coke |  | Pet Coke |  |  | HCl | OTM27 |  | ppm @ 7% O2 | [30 empty] | original database export===>
[7 empty] | Subbituminous |  | Sub Bituminous |  |  | SO2 | 26A | [32 empty] | original database export===>
[13 empty] | M6C | [32 empty] | original database export===>
Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data | Part II Data |  | original database export===>
RTI |  |  |  |  | As Submitted | [13 empty] | RTI-QA | [6 empty] | As Submitted | [8 empty] | RTI-QA | [7 empty] | Final for UPL |  | Final for UPL | original database export===>
Comments | Use Run in UPL Calc? | Grade | Key | Facility_Name | Facility_ID | Boiler_ID | Fuel1 Used | Fuel1 Fraction | Fuel2 Used | Fuel2 Fraction | "Fuel Used/Fraction" Data Source | Pollutant | Reference Method | Concentration | Concentration UOM | Non-Detect? | MDL | MDL UOM | HAP Conversion Value to lbs | HAP Conversion UOM | Volume Conversion Value to cubic feet | Reserve | Reserve | Reserve | Volume Conversion UOM | Bws (percent) | %O2d | %CO2d | Emission Rate Value | Emission Rate UOM | Emission Rate MDL | Emission Factor Value | Emission Factor UOM | Emission Factor MDL | Fd | Fw | Fc | Calculated conc lb/dscf | 19-1 lb/MW | %diff 19-1 | 19-6 lb/MW | %diff 19-6 | lb/MMBtu Value Used for UPL Calcs | Unit Heat Rate (MMBtu/MWh) | lb/MWh Value Used in UPL Calcs | original database export===> | Key | RTI Calculated QA lb/MMBtu | Run Grade | Submitted Value | Submitted Value UOM | Use ? | Comment | facility_id | configuration_id | report_id | sampling_port_id | order | pollutant_id | pollutant_name | run_id | start_datetime | end_datetime | unit_load | fuel_flow_rate | fuel_heating_value | fg_moisture_content | fg_oxygen_content | fg_CO2_content | fg_temperature | test_method | conc | conc_units | conc_ND | conc_MDL | conc2 | conc2_units | emission_rate | emission_rate_units | emission_rate_ND | emission_rate_MDL | Calculated lb/MWh at Prom | Boiler Heat Rate (lb/MMBtu)/MWh | Calculated lb/MMBtu at Prom | Calculated conc lb/dscf | 19-1 lb/MMBtu | if use Run 1 O2% for all runs | % Diff 19-1 | 19-6 lb/MMBtu | if use Run 1 O2% for all runs | % Diff 19-6 | emission_factor | emission_factor_units | emission_factor_ND | emission_factor_MDL | run_pollutant_comment | Fuel1 | Fuel1%Btu | Fuel2 | Fuel2%Btu | QA Comment | [8 empty] | average of test runs
BDL | Yes | A | 2_Hg_T2_R1 |  | 52071 |  | Lignite | 100% |  |  | Part II Submittal | Hg | M29 |  |  | Yes | 0.879 | μg/dscm | 2.2026e-09 | lbs/μg | 0.0283 |  |  |  | cm/cf | 17.46 | 4.6 | 15.2 |  | lb/hr | 0.0021 | 7.0451e-06 | lb/MWh |  | 9860 | 11950 | 1910 | 5.4792e-11 | 7.262e-06 | 2.988% | 7.2179e-06 | 2.395% | 6.9272e-07 | 10.4834 | 7.0451e-06 |  | 2_Hg_T2_R1 | 6.8892e-07 | A | 0.0021 | pound per hour (lb/hr) | Yes | BDL | 52071 | 5B | 2-Source Emissions Survey, Stacks | SP14 | 12 | 408130 | mercury | 10 | 2009-11-02 13:29 | 2009-11-02 16:07 | 298.08 | 341180 | 7830 | 17.46 | 4.6 | 15.2 | 217 | EPA Methods 1, 2, 3A, 4, 5B, 6C, 7E, 9, 10, 18, 25A, 26A, 29, 201A, CTM-027, and OTM-037 |  | microgram per dry standard cubic meter (μg/dscm) | TRUE | 0.879 |  |  |  | pound per hour (lb/hr) | TRUE | 0.0021 | [12 empty] | FALSE | [15 empty] | 1.0726e-05
BDL | Yes | A | 2_Hg_T2_R2 |  | 52071 |  | Lignite | 100% |  |  | Part II Submittal | Hg | M29 |  |  | Yes | 1.253 | μg/dscm | 2.2026e-09 | lbs/μg | 0.028317 |  |  |  | cm/cf | 17.53 | 4.6 | 15.6 |  | lb/hr | 0.003 | 9.8506e-06 | lb/MWh |  | 9860 | 11950 | 1910 | 7.8152e-11 | 1.0358e-05 | 4.899% | 1.0031e-05 | 1.8% | 9.8804e-07 | 10.4834 | 9.8506e-06 |  | 2_Hg_T2_R2 | 9.5687e-07 | A | 0.003 | pound per hour (lb/hr) | Yes | BDL | 52071 | 5B | 2-Source Emissions Survey, Stacks | SP14 | 12 | 408130 | mercury | 2 | 2009-10-31 22:34 | 2009-11-01 01:15 | 304.55 | 357154 | 8232 | 17.53 | 4.6 | 15.6 | 213 | EPA Methods 1, 2, 3A, 4, 5B, 6C, 7E, 9, 10, 18, 25A, 26A, 29, 201A, CTM-027, and OTM-029 |  | microgram per dry standard cubic meter (μg/dscm) | TRUE | 1.253 |  |  |  | pound per hour (lb/hr) | TRUE | 0.003 | [12 empty] | FALSE
BDL | Yes | B | 2_Hg_T2_R3 |  | 52071 |  | Lignite | 100% |  |  | Part II Submittal | Hg | M29 |  |  | Yes | 2.033 | μg/dscm | 2.2026e-09 | lbs/μg | 0.028317 |  |  |  | cm/cf | 17.85 | 4.8 | 15.3 |  | lb/hr | 0.0048 | 1.5283e-05 | lb/MWh |  | 9860 | 11950 | 1910 | 1.268e-10 | 1.7015e-05 | 10.18% | 1.6595e-05 | 7.904% | 1.623e-06 | 10.4834 | 1.5283e-05 |  | 2_Hg_T2_R3 | 1.583e-06 | B | 0.0048 | pound per hour (lb/hr) | Yes | BDL | 52071 | 5B | 2-Source Emissions Survey, Stacks | SP14 | 12 | 408130 | mercury | 6 | 2009-11-01 16:45 | 2009-11-01 20:08 | 314.07 | 356244 | 7905 | 17.85 | 4.8 | 15.3 | 215 | EPA Methods 1, 2, 3A, 4, 5B, 6C, 7E, 9, 10, 18, 25A, 26A, 29, 201A, CTM-027, and OTM-033 |  | microgram per dry standard cubic meter (μg/dscm) | TRUE | 2.033 |  |  |  | pound per hour (lb/hr) | TRUE | 0.0048 | [12 empty] | FALSE
| Yes | A | 2_Hg_T3_R1 |  | 52071 |  | Lignite | 100% |  |  | Part II Submittal | Hg | 30B | 1.238 | μg/dscm | No |  |  | 2.2026e-09 | lbs/μg | 0.028317 |  |  |  | cm/cf | 18.13 | 4.2 | 15.6 | 0.003 | lb/hr |  | 9.8361e-06 | lb/MWh |  | 9860 | 11950 | 1910 | 7.7216e-11 | 9.989e-06 | 1.531% | 9.9111e-06 | 0.7572% | 9.5283e-07 | 10.4834 | 9.8361e-06 |  | 2_Hg_T3_R1 | 9.5284e-07 | A | 0.003 | pound per hour (lb/hr) | Yes |  | 52071 | 5B | 3-Source Emissions Survey, Inlet Ducts and Stacks | SP14 | 12 | 408130 | mercury | 19 | 2009-11-01 02:00 | 2009-11-01 03:32 | 305 |  |  | 18.13 | 4.2 | 15.6 | 224 | EPA Methods 1, 2, 3A, 4, 6C, 17, 26A, 30B | 1.238 | microgram per dry standard cubic meter (μg/dscm) | FALSE |  |  |  | 0.003 | pound per hour (lb/hr) | FALSE | [13 empty] | FALSE | [15 empty] | 1.2985e-05
| Yes | A | 2_Hg_T3_R2 |  | 52071 |  | Lignite | 100% |  |  | Part II Submittal | Hg | 30B | 1.657 | μg/dscm | No |  |  | 2.2026e-09 | lbs/μg | 0.028317 |  |  |  | cm/cf |  | 4.55 | 15.425 | 0.004 | lb/hr |  | 1.3245e-05 | lb/MWh |  | 9860 | 11950 | 1910 | 1.0335e-10 | 1.3656e-05 | 3.009% | 1.3416e-05 | 1.274% | 1.3026e-06 | 10.4834 | 1.3245e-05 |  | 2_Hg_T3_R2 | 1.2753e-06 | A | 0.004 | pound per hour (lb/hr) | Yes |  | 52071 | 5B | 3-Source Emissions Survey, Inlet Ducts and Stacks | SP14 | 12 | 408130 | mercury | 20 | 2009-11-01 03:35 | 2009-11-01 04:40 | 302 | [6 empty] | EPA Methods 1, 2, 3A, 4, 6C, 17, 26A, 30B | 1.657 | microgram per dry standard cubic meter (μg/dscm) | FALSE |  |  |  | 0.004 | pound per hour (lb/hr) | FALSE | [13 empty] | FALSE
| Yes | A | 2_Hg_T3_R3 |  | 52071 |  | Lignite | 100% |  |  | Part II Submittal | Hg | 30B | 2.018 | μg/dscm | No |  |  | 2.2026e-09 | lbs/μg | 0.028317 |  |  |  | cm/cf |  | 4.55 | 15.425 | 0.005 | lb/hr |  | 1.5873e-05 | lb/MWh |  | 9860 | 11950 | 1910 | 1.2587e-10 | 1.6631e-05 | 4.558% | 1.6339e-05 | 2.851% | 1.5864e-06 | 10.4834 | 1.5873e-05 |  | 2_Hg_T3_R3 | 1.5532e-06 | A | 0.005 | pound per hour (lb/hr) | Yes |  | 52071 | 5B | 3-Source Emissions Survey, Inlet Ducts and Stacks | SP14 | 12 | 408130 | mercury | 21 | 2009-11-02 00:10 | 2009-11-02 02:29 | 315 | [6 empty] | EPA Methods 1, 2, 3A, 4, 6C, 17, 26A, 30B | 2.018 | microgram per dry standard cubic meter (μg/dscm) | FALSE |  |  |  | 0.005 | pound per hour (lb/hr) | FALSE | [13 empty] | FALSE
Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III | Part III
[48 empty] | RTI Calculated QA lb/MMBtu | Run Grade | Submitted Value | Submitted Value UOM | Use ? | Comment | facility_id | configuration_id | submittal_id | Hg_type | run_number | start_date | end_date | measured_value_Hg | measured_value_Hg0 | measured_value_Hg+2 | measured_value_HgP | basis | test_method | data_flag | method_comments | emission_rate | steam_output | heat_input | fg_moisture_content | fg_CO2_content | 19-6 | %Diff 19-6 | Ffactor calculated | 19-9 | %Diff 19-9 | fg_oxygen_content | 19-1 | %Diff 19-1 | Ffactor calculated | 19-5 | %Diff 19-5 | fg_flow_rate | fg_temperature | fuel1_input_rate | fuel1_type | fuel1_rate_units | fuel1_method | fuel2_input_rate | fuel2_type | fuel2_rate_units | fuel2_method | fuel3_input_rate | fuel3_type | fuel3_rate_units | fuel3_method | fuel4_input_rate | fuel4_type | fuel4_rate_units | fuel4_method | other_information | exclude_data | Paired Trap RD % (<10%) | Spike Recovery % (bet. 85 and 115%) | QA Comment | Questions for EPA
[39 empty] | lb/MMBtu |  | lb/MMBtu |  | lb/MMBtu |  | lb/MWh Value Used in UPL Calcs |  | Key | [13 empty] | µg/dscm | µg/dscm | µg/dscm | µg/dscm |  |  |  |  | lb/MMBtu
Used only a 3-point traverse. Ask EPA to determine if Run 1 should be included in UPL run analysis (yields non-normal data distribution and requires beyond the floor standard); or should run be excluded as an outlier. in UPL run analyses only. | Yes | C | 2_Hg_T1_R1 |  | 52071 |  | Lignite |  |  |  | ETTS | Hg | 30B | 7.62 | μg/dscm | No |  |  | 2.2026e-09 | lbs/μg | 0.028317 |  |  |  | cm/cf | 19.67 | 3.27 | 16.22 |  |  |  | 5.57e-06 | lb/MMBtu |  | 9860 | 11950 | 1910 | 4.7527e-10 | 5.5554e-06 | -0.2622% | 5.5966e-06 | 0.4781% | 5.57e-06 | 10.4834 | 5.8393e-05 | 100.3% | 2_Hg_T1_R1 | 5.5554e-06 | A | 5.57e-06 | lb/MMBtu | Yes | Used only a 3-point traverse. | 52071 | 5B | 832 | 30B | 1 | 40246.7153 | 40246.8021 | 7.62 |  |  |  | Dry | U.S. EPA Method 30B | ADL | Based on values in previous test, only a 3 point traverse was required. Spike recovery for Runs 2 & 3 were 168 & 136%, respectively. According to the method, these runs are invalid because the recovery was >115%. | 5.57e-06 | 1977 | 2484 | 19.67 | 16.22 | 5.5967e-06 | -0.0047855 |  | 4.4958e-06 | 0.19286 | 3.27 | 5.5554e-06 | 0.0026175 |  | 4.4627e-06 | 0.1988 | 579345 | 192 | 5544 | lignite | ton/day | gas fuel meter | [13 empty] | FALSE | 0.79794 | 108 | Used only a 3-point traverse.
Used only a 3-point traverse. Failed spike recovery. Do not use in any UPL analyses. | No | Exclude | 2_Hg_T1_R2 |  | 52071 |  | Lignite |  |  |  | ETTS | Hg | 30B | 8.63 | μg/dscm | No |  |  | 2.2026e-09 | lbs/μg | 0.028317 |  |  |  | cm/cf | 20.47 | 3.31 | 15.94 |  |  |  | 6.31e-06 | lb/MMBtu |  | 9860 | 11950 | 1910 | 5.3827e-10 | 6.306e-06 | -0.06265% | 6.4498e-06 | 2.215% | 6.31e-06 | 10.4834 | 6.6151e-05 | original database export===> | 2_Hg_T1_R2 | 6.3061e-06 | Exclude | 6.31e-06 | lb/MMBtu | No | Used only a 3-point traverse. Failed spike recovery. | 52071 | 5B | 832 | 30B | 2 | 40247.5451 | 40247.6285 | 8.63 |  |  |  | Dry | U.S. EPA Method 30B | ADL |  | 6.31e-06 | 1993 | 2487 | 20.47 | 15.94 | 6.4498e-06 | -0.022157 |  | 5.1295e-06 | 0.18708 | 3.31 | 6.3061e-06 | 0.00062177 |  | 5.0152e-06 | 0.20519 | 563279 | 194 | 5616 | lignite | ton/day | gas fuel meter | [13 empty] | FALSE | 6.4279 | 168 | Used only a 3-point traverse. Failed spike recovery. | Exclude this run/test? This is not Sandow's lowest test, so it will remain the number one unit.
Used only a 3-point traverse. Failed spike recovery. Do not use in any UPL analyses. | No | Exclude | 2_Hg_T1_R3 |  | 52071 |  | Lignite |  |  |  | ETTS | Hg | 30B | 6.69 | μg/dscm | No |  |  | 2.2026e-09 | lbs/μg | 0.028317 |  |  |  | cm/cf | 19.76 | 3.39 | 16.08 |  |  |  | 4.92e-06 | lb/MMBtu |  | 9860 | 11950 | 1910 | 4.1727e-10 | 4.9108e-06 | -0.187% | 4.9564e-06 | 0.7389% | 4.92e-06 | 10.4834 | 5.1579e-05 | original database export===> | 2_Hg_T1_R3 | 4.9108e-06 | Exclude | 4.92e-06 | lb/MMBtu | No | Used only a 3-point traverse. Failed spike recovery. | 52071 | 5B | 832 | 30B | 3 | 40248.5104 | 40248.5938 | 6.69 |  |  |  | Dry | U.S. EPA Method 30B | ADL |  | 4.92e-06 | 1990 | 2480 | 19.76 | 16.08 | 4.9564e-06 | -0.0073941 |  | 3.977e-06 | 0.19167 | 3.39 | 4.9108e-06 | 0.0018653 |  | 3.9404e-06 | 0.1991 | 580823 | 193 | 5592 | lignite | ton/day | gas fuel meter | [13 empty] | FALSE | 3.8472 | 136 | Used only a 3-point traverse. Failed spike recovery. | Exclude this run/test? This is not Sandow's lowest test, so it will remain the number one unit.
original database export===>
original database export===>
Conversions
1 | ppm SO2= | 1.66e-07 | lb/scf
1 | ppm Hg= | 5.1979e-07 | lb/scf
1000 | mg= | 1 | g
1000000 | ug= | 1 | g
454 | g= | 1 | lb
1 | m^3= | 35.3145 | ft^3
200.59 | Hg molecular weight
64.06 | SO2 molecular weight
Table 19-2 | Fd | Fw | Fc
Fuel Type | dscf/MMBtu | wscf/MMBtu | scf/MMBtu
Coal
Anthracite | 10100 | 10540 | 1970
Bituminous | 9780 | 10640 | 1800
Lignite | 9860 | 11950 | 1910
Oil | 9190 | 10320 | 1420
Subbituminous | 9820 |  | 1840
Petroleum Coke | 9830 |  | 1850
QA Calcs
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47
| Column Source==> | 43 | 43 | 43 | 43 | 43 | 43 | 43 | 43 | 43
| Test Avgs for UPL | R1 | R2 | R3 | R4 | R5 | R6 | R7 | R8 | R9 | R10
Test_IDs | lb/MW | lb/MW | lb/MW | lb/MW | lb/MW | lb/MW | lb/MW | lb/MW | lb/MW | lb/MW |  | Test_IDs
2_Hg_T2 | 1.0726e-05 | R1: 7.0451e-06; R2: 9.8506e-06; R3: 1.5283e-05 | 2_Hg_T2
2_Hg_T3 | 1.2985e-05 | R1: 9.8361e-06; R2: 1.3245e-05; R3: 1.5873e-05 | 2_Hg_T3
2_Hg_T1 | Invalid Test Avg | R1: 5.8393e-05; R2: Invalid Run; R3: Invalid Run | 2_Hg_T1

## UPL Pooled Template_noOutlier
Hg | Emissions (lb/MW)
Runs | 52071 Sandow 5B
1 | 7.0451e-06
2 | 9.8361e-06
3 | 9.8506e-06
4 | 1.3245e-05
5 | 1.5283e-05
6 | 1.5873e-05
Outlier Removed (This was a single run test because 2 of 3 runs failed spike recovery).==>
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
Use for large sample sets and small sample sets that are Normal.
Testing Normality | Raw Data
Sample Size | 6
Kurtosis | -1.6942
SE Kurtosis | 1.0299
Result Kurtosis | normal
Skewness | -0.13925
SE Skewness | 0.84515
Result Skewness | normal
ni = number test Runs = | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Number of sources = | 1
n =Total # test Runs = | 6
5
This step is for QC only:
means | 1.1856e-05
1.1856e-05
Mean =
Pooled Variance = |  |  | 1.2212e-11
m= number future Runs = | 3
Term1 | 0.5
Term2 | 6.1058e-12
Squared root Term2 |  | 2.471e-06
NOTE: the pvalue for the t-statistic is calculated as: 2*alpha, where 1-alpha is desired confidence, so if 99% confidence is desired then alpha=0.01 and 2*alpha=2*(0.01)
t-statistic | = quantile t-distribution with df degrees of freedom at .99 confidence level = | [5 empty] | 3.3649
UPL POOLED VARIANCE = |  |  |  |  | 2.017e-05 | lb/MWh
[5 empty] | 0.02017 | lb/GWh

## Lignite_Logormal UPL_noOutlier
Runs | Emissions (lb/MW) | [10 empty] | Parameters for Tukey's Test==> | 25th Percentile | 75th Percentile | IQ Dist. | 1.5 x IQD | 3 x IQD
Subcategory 2_Hg | 52071 Sandow 5B | [8 empty] | Outliers Removed |  |  | 9.8433e-06 | 1.5578e-05 | 5.7348e-06 | 8.6022e-06 | 1.7204e-05
2_Hg_T2_R1 | 7.0451e-06
2_Hg_T3_R1 | 9.8361e-06
2_Hg_T2_R2 | 9.8506e-06
2_Hg_T3_R2 | 1.3245e-05
2_Hg_T2_R3 | 1.5283e-05
2_Hg_T3_R3 | 1.5873e-05
2_Hg_T1_R1 | [9 empty] | 5.824e-05 | When the outlier was removed the curve became normal and lognormal. |  |  |  |  | Far Outlier High | (By Tukey's Test)
8 | [10 empty] | With the outlier in the set. The data are neither normal nor lognormal.
9 | [10 empty] | This was a single run test because 2 of 3 runs failed spike recovery
10 | [10 empty] | (See "Lignite_NonNormal_UPL" for the nonNormal UPL Analysis")
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
Use for small sample sets that are Lognormal.
Testing Normality | Raw Data | Log Data
Sample Size | 6 | 6
Kurtosis | -1.6942 | -0.88381
SE Kurtosis | 1.0299 | 1.0299
Result Kurtosis | normal | normal
Skewness | -0.13925 | -0.51191
SE Skewness | 0.84515 | 0.84515
Result Skewness | normal | normal
1. Take LN( ) of Raw Data
Runs
1 | -11.8632
2 | -11.5295
3 | -11.528
4 | -11.2319
5 | -11.0888
6 | -11.0509
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
2. Calculate sample size, n= |  | 6
Average of Raw Data |  | 1.1856e-05
3. Calculate |  |  | -11.382
0.098549
4. Calculate
5. m |  | 3 | = number of future runs to be used to assess compliance with the standard
6. Calculate
a- Numerator first term |  |  |  |  | 4.8248
b- denominator first term |  |  |  |  | 0.03218
151.9333
7. Calculate
0.57665
8. Go to tab distribution for 99 percentile "lognormal distribution 99%"
9. substitue the values of |  |  |  | in cell D7 and F7 respectively
10. In column AE indentify the value that is the smallest value that is larger than 0.99, note what row number this is. | [7 empty] | 93 | is the Row number in Column AE with the first value > 0.99.
11. In column B, go down to the row number from Step 10. above, and copy the z value. | [7 empty] | 3.484 | z value from "lognormal distribution 99%"
12. calculate the UPL using the formula
a- Calculate |  |  | 1.1974e-05
b- Calculate |  |  | 1.4338e-10
c- Calculate |  |  | 0.10357
d-calculate |  |  |  | 0.017396
e- Calculate | [6 empty] | 8.1853e-06
f- Calculate UPL |  |  | 2.148e-05 | lb/MW | 0.02148 | lb/GW
Outlier Removed

## lognormal distribution 99 %
distribution of Z
Normal
distribution
∆z | z | [6 empty] | Absolute values
[10 empty] | Cumulative | normalization
0.101 |  |  | 151.9333 | 0.57665
| -5 | =f(a) |  |  | 2956.6833 | 1.4867e-06 | 0.0043958 | 0.0043958 | 0.00022199 | 0.00022199 | 1.2692e-05 |  | 9
1 | -4.899 |  |  |  | 2690.5811 | 2.4509e-06 | 0.0065945 | 0.0065945 | 0.00066604 | 0.00088803 | 5.0773e-05 |  | 10
2 | -4.798 |  |  |  | 2441.9231 | 3.9995e-06 | 0.0097665 | 0.0097665 | 0.00098641 | 0.0018744 | 0.00010717 |  | 11
3 | -4.697 |  |  |  | 2209.966 | 6.4602e-06 | 0.014277 | 0.014277 | 0.001442 | 0.0033164 | 0.00018962 |  | 12
4 | -4.596 |  |  |  | 1993.9818 | 1.0329e-05 | 0.020596 | 0.020596 | 0.0020802 | 0.0053966 | 0.00030855 |  | 13
5 | -4.495 |  |  |  | 1793.2581 | 1.6347e-05 | 0.029315 | 0.029315 | 0.0029608 | 0.0083574 | 0.00047783 |  | 14
6 | -4.394 |  |  |  | 1607.0981 | 2.5609e-05 | 0.041157 | 0.041157 | 0.0041568 | 0.012514 | 0.0007155 |  | 15
7 | -4.293 |  |  |  | 1434.8204 | 3.9712e-05 | 0.056979 | 0.056979 | 0.0057549 | 0.018269 | 0.0010445 |  | 16
8 | -4.192 |  |  |  | 1275.759 | 6.0955e-05 | 0.077764 | 0.077764 | 0.0078542 | 0.026123 | 0.0014936 |  | 17
9 | -4.091 |  |  |  | 1129.2635 | 9.2613e-05 | 0.10458 | 0.10458 | 0.010563 | 0.036686 | 0.0020975 |  | 18
10 | -3.99 |  |  |  | 994.6991 | 0.00013928 | 0.13855 | 0.13855 | 0.013993 | 0.05068 | 0.0028976 |  | 19
11 | -3.889 |  |  |  | 871.4463 | 0.00020735 | 0.1807 | 0.1807 | 0.01825 | 0.06893 | 0.0039411 |  | 20
12 | -3.788 |  |  |  | 758.9013 | 0.00030555 | 0.23188 | 0.23188 | 0.02342 | 0.09235 | 0.0052801 |  | 21
13 | -3.687 |  |  |  | 656.4756 | 0.00044567 | 0.29257 | 0.29257 | 0.02955 | 0.1219 | 0.0069696 |  | 22
14 | -3.586 |  |  |  | 563.5963 | 0.00064347 | 0.36266 | 0.36266 | 0.036628 | 0.15853 | 0.0090638 |  | 23
15 | -3.485 |  |  |  | 479.706 | 0.00091962 | 0.44115 | 0.44115 | 0.044556 | 0.20308 | 0.011611 |  | 24
16 | -3.384 |  |  |  | 404.2628 | 0.0013009 | 0.52592 | 0.52592 | 0.053118 | 0.2562 | 0.014648 |  | 25
17 | -3.283 |  |  |  | 336.7403 | 0.0018217 | 0.61344 | 0.61344 | 0.061958 | 0.31816 | 0.018191 |  | 26
18 | -3.182 |  |  |  | 276.6275 | 0.002525 | 0.69849 | 0.69849 | 0.070548 | 0.38871 | 0.022224 |  | 27
19 | -3.081 |  |  |  | 223.4291 | 0.0034644 | 0.77405 | 0.77405 | 0.078179 | 0.46689 | 0.026694 |  | 28
20 | -2.98 |  |  |  | 176.665 | 0.004705 | 0.8312 | 0.8312 | 0.083951 | 0.55084 | 0.031494 |  | 29
21 | -2.879 |  |  |  | 135.871 | 0.0063249 | 0.85937 | 0.85937 | 0.086797 | 0.63763 | 0.036457 |  | 30
22 | -2.778 |  |  |  | 100.598 | 0.0084163 | 0.84667 | 0.84667 | 0.085513 | 0.72315 | 0.041346 |  | 31
23 | -2.677 |  |  |  | 70.4126 | 0.011086 | 0.78057 | 0.78057 | 0.078838 | 0.80198 | 0.045853 |  | 32
24 | -2.576 |  |  |  | 44.8969 | 0.014453 | 0.64891 | 0.64891 | 0.06554 | 0.86752 | 0.049601 |  | 33
25 | -2.475 |  |  |  | 23.6485 | 0.018653 | 0.44112 | 0.44112 | 0.044553 | 0.91208 | 0.052148 |  | 34
26 | -2.374 |  |  |  | 6.2805 | 0.023828 | 0.14965 | 0.14965 | 0.015115 | 0.92719 | 0.053012 |  | 35
27 | -2.273 |  |  |  | -7.5787 | 0.030131 | -0.22835 | 0.22835 | 0.023064 | 0.95026 | 0.054331 |  | 36
28 | -2.172 |  |  |  | -18.2849 | 0.037714 | -0.68959 | 0.68959 | 0.069649 | 1.0199 | 0.058313 |  | 37
29 | -2.071 |  |  |  | -26.1786 | 0.046726 | -1.2232 | 1.2232 | 0.12354 | 1.1434 | 0.065377 |  | 38
30 | -1.97 |  |  |  | -31.5847 | 0.057304 | -1.8099 | 1.8099 | 0.1828 | 1.3263 | 0.075828 |  | 39
31 | -1.869 |  |  |  | -34.8127 | 0.069563 | -2.4217 | 2.4217 | 0.24459 | 1.5708 | 0.089813 |  | 40
32 | -1.768 |  |  |  | -36.1565 | 0.083588 | -3.0223 | 3.0223 | 0.30525 | 1.8761 | 0.10727 |  | 41
33 | -1.667 |  |  |  | -35.8945 | 0.099422 | -3.5687 | 3.5687 | 0.36044 | 2.2365 | 0.12787 |  | 42
34 | -1.566 |  |  |  | -34.2898 | 0.11705 | -4.0138 | 4.0138 | 0.40539 | 2.6419 | 0.15105 |  | 43
35 | -1.465 |  |  |  | -31.5897 | 0.13642 | -4.3093 | 4.3093 | 0.43524 | 3.0772 | 0.17594 |  | 44
36 | -1.364 |  |  |  | -28.0262 | 0.15737 | -4.4104 | 4.4104 | 0.44545 | 3.5226 | 0.20141 |  | 45
37 | -1.263 |  |  |  | -23.8158 | 0.17969 | -4.2795 | 4.2795 | 0.43223 | 3.9548 | 0.22612 |  | 46
38 | -1.162 |  |  |  | -19.1595 | 0.2031 | -3.8913 | 3.8913 | 0.39302 | 4.3479 | 0.24859 |  | 47
39 | -1.061 |  |  |  | -14.2426 | 0.22723 | -3.2363 | 3.2363 | 0.32687 | 4.6747 | 0.26728 |  | 48
40 | -0.96 |  |  |  | -9.2351 | 0.25164 | -2.324 | 2.324 | 0.23472 | 4.9094 | 0.2807 |  | 49
41 | -0.859 |  |  |  | -4.2916 | 0.27586 | -1.1839 | 1.1839 | 0.11957 | 5.029 | 0.28753 |  | 50
42 | -0.758 |  |  |  | 0.44903 | 0.29933 | 0.13441 | 0.13441 | 0.013575 | 5.0426 | 0.28831 |  | 51
43 | -0.657 |  |  |  | 4.8633 | 0.3215 | 1.5636 | 1.5636 | 0.15792 | 5.2005 | 0.29734 |  | 52
44 | -0.556 |  |  |  | 8.8433 | 0.34181 | 3.0227 | 3.0227 | 0.30529 | 5.5058 | 0.31479 |  | 53
45 | -0.455 |  |  |  | 12.2965 | 0.35971 | 4.4232 | 4.4232 | 0.44674 | 5.9525 | 0.34034 |  | 54
46 | -0.354 |  |  |  | 15.146 | 0.37471 | 5.6754 | 5.6754 | 0.57321 | 6.5258 | 0.37311 |  | 55
47 | -0.253 |  |  |  | 17.3302 | 0.38638 | 6.696 | 6.696 | 0.67629 | 7.2021 | 0.41178 |  | 56
48 | -0.152 |  |  |  | 18.8032 | 0.39436 | 7.4152 | 7.4152 | 0.74894 | 7.951 | 0.4546 |  | 57
49 | -0.051 |  |  |  | 19.5346 | 0.39842 | 7.783 | 7.783 | 0.78609 | 8.7371 | 0.49954 |  | 58
50 | 0.05 |  |  |  | 19.5092 | 0.39844 | 7.7733 | 7.7733 | 0.78511 | 9.5222 | 0.54443 |  | 59
51 | 0.151 |  |  |  | 18.7277 | 0.39442 | 7.3866 | 7.3866 | 0.74605 | 10.2682 | 0.58709 |  | 60
52 | 0.252 |  |  |  | 17.2061 | 0.38647 | 6.6497 | 6.6497 | 0.67162 | 10.9399 | 0.62549 |  | 61
53 | 0.353 |  |  |  | 14.9759 | 0.37484 | 5.6136 | 5.6136 | 0.56698 | 11.5068 | 0.6579 |  | 62
54 | 0.454 |  |  |  | 12.084 | 0.35988 | 4.3487 | 4.3487 | 0.43922 | 11.946 | 0.68302 |  | 63
55 | 0.555 |  |  |  | 8.5931 | 0.342 | 2.9388 | 2.9388 | 0.29682 | 12.2429 | 0.69999 |  | 64
56 | 0.656 |  |  |  | 4.581 | 0.32171 | 1.4738 | 1.4738 | 0.14885 | 12.3917 | 0.7085 |  | 65
57 | 0.757 |  |  |  | 0.14138 | 0.29955 | 0.042352 | 0.042352 | 0.0042775 | 12.396 | 0.70874 |  | 66
58 | 0.858 |  |  |  | -4.6168 | 0.27609 | -1.2747 | 1.2747 | 0.12874 | 12.5247 | 0.7161 |  | 67
59 | 0.959 |  |  |  | -9.5691 | 0.25189 | -2.4103 | 2.4103 | 0.24344 | 12.7682 | 0.73002 |  | 68
60 | 1.06 |  |  |  | -14.5755 | 0.22747 | -3.3155 | 3.3155 | 0.33486 | 13.103 | 0.74917 |  | 69
61 | 1.161 |  |  |  | -19.4804 | 0.20334 | -3.9611 | 3.9611 | 0.40007 | 13.5031 | 0.77204 |  | 70
62 | 1.262 |  |  |  | -24.113 | 0.17992 | -4.3383 | 4.3383 | 0.43817 | 13.9413 | 0.79709 |  | 71
63 | 1.363 |  |  |  | -28.2866 | 0.15758 | -4.4574 | 4.4574 | 0.4502 | 14.3915 | 0.82283 |  | 72
64 | 1.464 |  |  |  | -31.7994 | 0.13662 | -4.3443 | 4.3443 | 0.43877 | 14.8303 | 0.84792 |  | 73
65 | 1.565 |  |  |  | -34.4337 | 0.11724 | -4.0369 | 4.0369 | 0.40773 | 15.238 | 0.87123 |  | 74
66 | 1.666 |  |  |  | -35.9567 | 0.099588 | -3.5808 | 3.5808 | 0.36166 | 15.5996 | 0.89191 |  | 75
67 | 1.767 |  |  |  | -36.1198 | 0.083736 | -3.0245 | 3.0245 | 0.30548 | 15.9051 | 0.90938 |  | 76
68 | 1.868 |  |  |  | -34.659 | 0.069693 | -2.4155 | 2.4155 | 0.24397 | 16.1491 | 0.92332 |  | 77
69 | 1.969 |  |  |  | -31.2949 | 0.057417 | -1.7969 | 1.7969 | 0.18148 | 16.3306 | 0.9337 |  | 78
70 | 2.07 |  |  |  | -25.7325 | 0.046823 | -1.2049 | 1.2049 | 0.12169 | 16.4523 | 0.94066 |  | 79
71 | 2.171 |  |  |  | -17.6613 | 0.037796 | -0.66752 | 0.66752 | 0.06742 | 16.5197 | 0.94451 |  | 80
72 | 2.272 |  |  |  | -6.7554 | 0.030199 | -0.20401 | 0.20401 | 0.020605 | 16.5403 | 0.94569 |  | 81
73 | 2.373 |  |  |  | 7.3268 | 0.023885 | 0.175 | 0.175 | 0.017675 | 16.558 | 0.9467 |  | 82
74 | 2.474 |  |  |  | 24.9422 | 0.018699 | 0.4664 | 0.4664 | 0.047106 | 16.6051 | 0.9494 |  | 83
75 | 2.575 |  |  |  | 46.4633 | 0.014491 | 0.67328 | 0.67328 | 0.068002 | 16.6731 | 0.95328 |  | 84
76 | 2.676 |  |  |  | 72.2781 | 0.011115 | 0.8034 | 0.8034 | 0.081143 | 16.7542 | 0.95792 |  | 85
77 | 2.777 |  |  |  | 102.7899 | 0.0084397 | 0.86752 | 0.86752 | 0.08762 | 16.8418 | 0.96293 |  | 86
78 | 2.878 |  |  |  | 138.4179 | 0.0063431 | 0.878 | 0.878 | 0.088678 | 16.9305 | 0.968 |  | 87
79 | 2.979 |  |  |  | 179.5964 | 0.004719 | 0.84751 | 0.84751 | 0.085599 | 17.0161 | 0.9729 |  | 88
80 | 3.08 |  |  |  | 226.7754 | 0.0034751 | 0.78806 | 0.78806 | 0.079594 | 17.0957 | 0.97745 |  | 89
81 | 3.181 |  |  |  | 280.4204 | 0.0025331 | 0.71033 | 0.71033 | 0.071743 | 17.1675 | 0.98155 |  | 90
82 | 3.282 |  |  |  | 341.0124 | 0.0018277 | 0.62327 | 0.62327 | 0.06295 | 17.2304 | 0.98515 |  | 91
83 | 3.383 |  |  |  | 409.0477 | 0.0013054 | 0.53395 | 0.53395 | 0.053929 | 17.2843 | 0.98823 |  | 92
84 | 3.484 |  |  |  | 485.0383 | 0.00092283 | 0.44761 | 0.44761 | 0.045208 | 17.3295 | 0.99082 | x | 93
85 | 3.585 |  |  |  | 569.5117 | 0.00064578 | 0.36778 | 0.36778 | 0.037146 | 17.3667 | 0.99294 | x | 94
86 | 3.686 |  |  |  | 663.0109 | 0.00044732 | 0.29658 | 0.29658 | 0.029954 | 17.3966 | 0.99465 | x | 95
87 | 3.787 |  |  |  | 766.0943 | 0.00030671 | 0.23497 | 0.23497 | 0.023731 | 17.4204 | 0.99601 | x | 96
88 | 3.888 |  |  |  | 879.3358 | 0.00020816 | 0.18304 | 0.18304 | 0.018487 | 17.4389 | 0.99707 | x | 97
89 | 3.989 |  |  |  | 1003.3248 | 0.00013984 | 0.14031 | 0.14031 | 0.014171 | 17.453 | 0.99788 | x | 98
90 | 4.09 |  |  |  | 1138.6664 | 9.2993e-05 | 0.10589 | 0.10589 | 0.010695 | 17.4637 | 0.99849 | x | 99
91 | 4.191 |  |  |  | 1285.9809 | 6.1211e-05 | 0.078717 | 0.078717 | 0.0079504 | 17.4717 | 0.99894 | x | 100
92 | 4.292 |  |  |  | 1445.9044 | 3.9883e-05 | 0.057666 | 0.057666 | 0.0058243 | 17.4775 | 0.99928 | x | 101
93 | 4.393 |  |  |  | 1619.0881 | 2.5722e-05 | 0.041646 | 0.041646 | 0.0042063 | 17.4817 | 0.99952 | x | 102
94 | 4.494 |  |  |  | 1806.1991 | 1.6421e-05 | 0.029659 | 0.029659 | 0.0029956 | 17.4847 | 0.99969 | x | 103
95 | 4.595 |  |  |  | 2007.9199 | 1.0377e-05 | 0.020836 | 0.020836 | 0.0021044 | 17.4868 | 0.99981 | x | 104
96 | 4.696 |  |  |  | 2224.9482 | 6.4907e-06 | 0.014441 | 0.014441 | 0.0014586 | 17.4883 | 0.99989 | x | 105
97 | 4.797 |  |  |  | 2457.9976 | 4.0187e-06 | 0.009878 | 0.009878 | 0.00099768 | 17.4893 | 0.99995 | x | 106
98 | 4.898 |  |  |  | 2707.797 | 2.463e-06 | 0.0066692 | 0.0066692 | 0.00067359 | 17.4899 | 0.99999 | x | 107
99 | 4.999 |  |  |  | 2975.0908 | 1.4942e-06 | 0.0044453 | 0.0044453 | 0.00022449 | 17.4902 | 1 | x | 108
882.4536

## Non_Norm_Sheets_1Outlier==>
The UPL analysis for non-normal data distributions is included because inclusion of an outlier results in a non-normal data distribution.

## Intstructions
Step 1. Identify size of sample set.
Large: When N (total number of sources) ≥ 20. For a large sample set can assume normal distribution based on the Central Limit Theorem; use the "UPL Pooled Template" .
Small: When N (total number of sources) < 20. For a small sample set the Central Limit Theorem cannot be used to support the normality assumption; move on to Step 2.
Step 2. Identify Normality of sample set.
Statistical tests of the kurtosis and skewness are used to evaluate the normality assumption.
If you have three or less runs in your entire sample set, skip down to Step 6.
If you have more than three runs in your entire sample set, start in the "UPL Pooled Template" and test for normality in cells B45:B51. If the Kurtosis and Skewness tests show that raw data is Normal, you may continue to use the "UPL Pooled Template".
If the Kurtosis and Skewness tests show that raw data is Not Normal, move on to Step 3.
Step 3. Transform raw data to lognormal data.
In the "Lognormal Template", take the LN() of the raw data in cells B55:L89 and test the normality again of the LN-data transformed in cells C45:C51.
If Kurtosis and Skewness tests show that the LN-data transformed is Lognormal, continue to use the "Lognormal Template".
If Kurtosis and Skewness tests show that the LN-data transformed is Not Lognormal, move on to Step 4.
Step 4. Apply Skewness Adjustment.
For data that is Not Normal and Not Lognormal, use the "Skewness Adjustment Template". This is essentially the UPL Pooled Template with a Skewness Adjustment. Note: DO NOT not use this template if n<13 (n is number of individual runs).
For data that is Not Normal and Not Lognormal with n<13, move on to Step 5.
Step 5.
See "Step 5. Intructions" tab
Step 6.
See "Step 6. Intructions" tab
Things to keep in mind:
Type of data affects m (number of future runs) that will be used in calculation, for example:
If the average of three test runs is used to determine compliance; m=3
If 30-day averages are used to determine compliance; m=30
N = total number of sources
n = number of individual runs
df = degrees of freedom = n - 1
X = mean of data
s2 = pooled vaiance of data
m = number of future runs
tdf = t-statistic: t-distribution with df degrees of freedom at .99 confidence level

## Step 5. Instructions
Step 5. Instructions
For data sets that are Non Normal & Non Lognormal with n<13
1) Go to the "Template_nonnormal" tab. The adjustment starts in Row 150. Copy the kurtosis value (B41) and skewness value (B44) in the "Template_nonnormal" tab into cells H14 and H12 respectively of the "Calculations for Template" tab.
2) Cell E114 of the "Template_nonnormal" tab shows the actual confidence level (1 - 'Calculations for Template'!J139) after accounting for the skewness and kurtosis. If the confidence level is larger than 99.00% or lower than 99.00% then we need to adjust the t-statistic.
3) Row 115 of the "Template_nonnormal" tab uses the IF function in EXCEL to conclude about the need to adjust or not. If you don’t need to adjust (because the difference between the actual level and 99.00% is not that large) then you can use the t-statistic in cell H102 of the "Template_nonnormal" tab. If the difference is significant, then you need to adjust the t-statistic.
4) The “Calculations_for_Template” tab has the calculations for the confidence level for the first t-statistic in cell H102 from the“Template_nonnormal” tab. Input values for this tab are obtained from the “Template_nonnormal” tab, so you don’t need to worry about it.
5) To adjust the t-statistic go to the “Recalculate t-stat” tab. This tab starts with the t-statistic in cell H102 from the “Template_nonnormal” tab. If the confidence level from cell E114 of the "Template_nonnormal" tab was larger or lower THAN 99.00% you need to decrease or increase the t-statistic so you get closer to 99.00%. Cell G3 has the value of the increase also called "interval", the candidate t-values will be calculated as the t-value in cell H102 plus multiples of the interval, for example if the t-value is 2, and the interval is 0.3, then the candidate t-values are: 2.03, 2.06, 2.09, 3.12, etc. These are calculated automatically for you in row 5 after a value is placed in cell G3. The corresponding p-values and confidence levels are also calculated automatically for you. Cell G3, the “interval” can be manipulated. For example, start with 0.1 and notice what the values in row 9 are. If they are not 99.00% keep increaseing or decreasing the value in G3 until one of the values in row 9 is 99.00% and you get a "YES" value in row 11 in the same column. You may have to go out to several significant figures.
Calculations are in the tabs: Recalculations1 to Recalculations6. You don’t need to worry about them, they are basically duplicates of tab “Calculations_for_Template” and each one use a different value of the candidate t-values in row 5.
6) Sometimes the actual significance level in cell E114 of tab “Template_nonnormal” is larger than 99%, then you have to use a negative interval (meaning that your value in cell G3, tab “Recalculate t-stat” has to be negative), for example instead of 0.389, it has to be -0.389 or another negative number.
7) Once you get the adjusted t-value from tab “Recalculate t-stat”, you copy the t-value and paste special the value into cell E119 in tab “Template_nonnormal”.
8) The template will calculate the UPL for you in cell E122.

## Template_nonnormal
Emissions
Runs | 52071 Sandow 5B
1 | 7.0451e-06
2 | 9.8506e-06
3 | 1.5283e-05
4 | 9.8361e-06
5 | 1.3245e-05
6 | 1.5873e-05
7 | 5.8393e-05 | [10 empty] | Outlier is included.
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
Testing Normality | Raw Data
Sample Size | 7
Kurtosis | 6.3037 |  |  | ### Make sure that kurtosis and skewness are copied in "Calculations for Template", in cells H14 and H12 respectively
SE Kurtosis | 1
Result Kurtosis | non normal
Skewness | 2.4698
SE Skewness | 0.79373 |  | RESULT
Result Skewness | non normal |  | non normal
ni = number test runs = | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Number of sources = | 1
n =Total # test runs = | 7
6
This step is for QC only:
means | 1.8504e-05
1.8504e-05
Mean =
Pooled Variance = |  |  | 3.1956e-10
m= number future runs = | 3
Term1 | 0.47619
Term2 | 1.5217e-10
Squared root Term2 |  | 1.2336e-05
NOTE: the pvalue for the t-statistic is calculated as: 2*alpha, where 1-alpha is desired confidence, so if 99% confidence is desired then alpha=0.01 and 2*alpha=2*(0.01)
t-statistic | = quantile t-distribution with df degrees of freedom at .99 confidence level = | [5 empty] | 3.1427
Adjustment for non-normality (skewness and kurtosis) for any sample size in particular for small samples
a) n = number of test-runs = | [8 empty] | 7
b) Calculate u0 | [8 empty] | 0.37792
| Current Confidence Level is |  |  | 99.13%
Conclusion | Confidence Level is not 99%, Go to recalculate tab to fix the Confidence Level
| interval of differences for t-values used |  |  | 0.453
| new t-statistic from tab Recalculate t-statistic |  |  | 5.8607
Adjusted UPL for skewness and kurtosis for all sample size |  |  |  | 9.08e-05 | lb/MWh
|  |  |  | 0.0908 | lb/GWhr

## Calculations for Template
Calculate the Incomplete Beta Functions needed for adjustment
Incomplete Beta Function approximation
where
Inputs |  |  |  |  | skewness= |  | 2.4698
x=u0= |  | 0.37792 |  |  | kurtosis= |  | 6.3037
n= |  | 7
t0=t= |  | 3.1427
c.1.) Calculate | [7 empty] | d.1.) Calculate |  |  |  | e.1.) Calculate |  |  |  | f.1.) Calculate |  |  |  | g.1.) Calculate |  |  |  | h.1.) Calculate
a= | 3 | [6 empty] | a= | 4 |  |  | a= | 5 |  |  | a= | 5 |  |  | a= | 3 |  |  | a= | 4
b= | 0.5 | [6 empty] | b= | 0.5 |  |  | b= | 0.5 |  |  | b= | 0.5 |  |  | b= | 1 |  |  | b= | 1
w= | 0.30376 | [6 empty] | w= | 0.30376 |  |  | w= | 0.30376 |  |  | w= | 0.30376 |  |  | w= | 0.60751 |  |  | w= | 0.60751
Calculations | [7 empty] | Calculations |  |  |  | Calculations |  |  |  | Calculations |  |  |  | Calculations |  |  |  | Calculations
c.1.1. |  | 0.003726 | [5 empty] | d.1.1. |  | 0.00027854 |  | e.1.1. |  | 1.6746e-05 |  | f.1.1. |  | 1.6746e-05 |  | g.1.1. |  | 0.023864 |  | h.1.1. |  | 0.0035087
c.1.2. |  | 2 | [5 empty] | d.1.2. |  | 6 |  | e.1.2. |  | 24 |  | f.1.2. |  | 24 |  | g.1.2. |  | 2 |  | h.1.2. |  | 6
c.1.3 |  | 0.010342 | [5 empty] | d.1.3 |  | 0.0010472 |  | e.1.3 |  | 7.9523e-05 |  | f.1.3 |  | 7.9523e-05 |  | g.1.3 |  | 0.061065 |  | h.1.3 |  | 0.012366
c.1.4. |  | 1.6962 | [5 empty] | d.1.4. |  | 2.6962 |  | e.1.4. |  | 3.6962 |  | f.1.4. |  | 3.6962 |  | g.1.4. |  | 0.69624 |  | h.1.4. |  | 1.1962
c.1.5. |  |  |  | 2.6667 |  |  |  | d.1.5. |  |  | 11 | e.1.5. |  |  | 28 | f.1.5. |  |  | 28 | g.1.5. |  |  | 2.6667 | h.1.5. |  |  | 11
c.1.6 |  |  |  | 2.5313 |  |  |  | d.1.6 |  |  | 5.1638 | e.1.6 |  |  | 8.7077 | f.1.6 |  |  | 8.7077 | g.1.6 |  |  | 5.0626 | h.1.6 |  |  | 10.3277
c.1.7 |  |  |  | 0.39983 |  |  |  | d.1.7 |  |  | 0.53823 | e.1.7 |  |  | 0.67663 | f.1.7 |  |  | 0.67663 | g.1.7 |  |  | 1.5993 | h.1.7 |  |  | 2.1529
Result1: |  |  |  | 0.024797 |  |  |  | Result2: |  |  | 0.0095304 | Result3: |  |  | 0.0018815 | Result4: |  |  | 0.0018815 | Result5: |  |  | 0.040575 | Result6: |  |  | 0.023765
1- Calculate |  |  |  |  | 0.012398
2- Calculate
2.1. Calculate |  |  | 0.025131
2.2. Calculate |  |  | 7.8091
2.3. Calculate |  |  |  | 49.0229
Result: |  |  |  | 0.0040032
3-Calculate
3.1. Calculate |  |  |  | 0.30157
3.2. Calculate |  |  |  | 0.3267
Result |  |  |  | 0.0060892
4-Calculate
4.1. Calculate |  |  |  |  | 0.0061992
4.2. Calculate | [5 empty] | 0.0061267
4.3. Calculate | [5 empty] | 0.00073916
Result: | [5 empty] | 0.00081161
5- Calculate
0.039261
5.1. Calculate
0.047993
5.2. Calculate
5.3. Calculate | [5 empty] | 0.0097435
5.4. Calculate | [6 empty] | 0.0032478
Result |  | -0.0022355
Corrected probability is:: | [8 empty] | 0.0086845

## Recalculate t-stat
1) Start with initial t-statistic from Template | 3.1427
2) Determine interval of differences for t-values | 0.453
2) Candidate values for t-statistic | 3.5957 | 4.0487 | 4.5017 | 4.9547 | 5.4077 | 5.8607
3) Corrected p-values | 0.043638 | 0.03994 | 0.029781 | 0.020908 | 0.014444 | 0.0099915
Acutal significance level with t-value | 95.64% | 96.01% | 97.02% | 97.91% | 98.56% | 99%
4) Is p-value closed enough to 0.01? | NO | NO | NO | NO | NO | YES
4) If you don't get a YES in row 11, play around with the cell G3, the interval for differences until you get one p-value closed to 0.01
5) Once you get a YES, use the t-statistic in the calculations of the UPL.
Go back to Template_nonnormal tab and paste the value in row 5 that has a Yes in row 11.
Copy the new t-value in cell E119 Template_nonnormal

## Recalculations1
Calculate u0. Sustitute each candidate t-value in u0 equation | [7 empty] | t-statistic= | 3.5957 |  | u0= | 0.31698
Calculate the Incomplete Beta Functions needed for adjustment
Incomplete Beta Function approximation
where
Inputs |  |  |  |  | skewness= |  | 2.4698
x=u0= |  | 0.31698 |  |  | kurtosis= |  | 6.3037
n= |  | 7
t0=t= |  | 3.1427
c.1.) Calculate | [7 empty] | d.1.) Calculate |  |  |  |  | e.1.) Calculate |  |  |  | f.1.) Calculate |  |  |  | g.1.) Calculate |  |  |  | h.1.) Calculate
a= | 3 | [6 empty] | a= | 4 |  |  |  | a= | 5 |  |  | a= | 5 |  |  | a= | 3 |  |  | a= | 4
b= | 0.5 | [6 empty] | b= | 0.5 |  |  |  | b= | 0.5 |  |  | b= | 0.5 |  |  | b= | 1 |  |  | b= | 1
w= | 0.23204 | [6 empty] | w= | 0.23204 |  |  |  | w= | 0.23204 |  |  | w= | 0.23204 |  |  | w= | 0.46408 |  |  | w= | 0.46408
Calculations | [7 empty] | Calculations |  |  |  |  | Calculations |  |  |  | Calculations |  |  |  | Calculations |  |  |  | Calculations
c.1.1. |  | 0.0017515 | [5 empty] | d.1.1. |  | 0.0001004 |  |  | e.1.1. |  | 4.6226e-06 |  | f.1.1. |  | 4.6226e-06 |  | g.1.1. |  | 0.01181 |  | h.1.1. |  | 0.0013372
c.1.2. |  | 2 | [5 empty] | d.1.2. |  | 6 |  |  | e.1.2. |  | 24 |  | f.1.2. |  | 24 |  | g.1.2. |  | 2 |  | h.1.2. |  | 6
c.1.3 |  | 0.0049532 | [5 empty] | d.1.3 |  | 0.00038311 |  |  | e.1.3 |  | 2.2224e-05 |  | f.1.3 |  | 2.2224e-05 |  | g.1.3 |  | 0.031419 |  | h.1.3 |  | 0.0048604
c.1.4. |  | 1.768 | [5 empty] | d.1.4. |  | 2.768 |  |  | e.1.4. |  | 3.768 |  | f.1.4. |  | 3.768 |  | g.1.4. |  | 0.76796 |  | h.1.4. |  | 1.268
c.1.5. |  |  |  | 2.6667 |  |  |  | d.1.5. |  |  |  | 11 | e.1.5. |  |  | 28 | f.1.5. |  |  | 28 | g.1.5. |  |  | 2.6667 | h.1.5. |  |  | 11
c.1.6 |  |  |  | 1.9337 |  |  |  | d.1.6 |  |  |  | 3.9447 | e.1.6 |  |  | 6.6518 | f.1.6 |  |  | 6.6518 | g.1.6 |  |  | 3.8673 | h.1.6 |  |  | 7.8893
c.1.7 |  |  |  | 0.23332 |  |  |  | d.1.7 |  |  |  | 0.31408 | e.1.7 |  |  | 0.39484 | f.1.7 |  |  | 0.39484 | g.1.7 |  |  | 0.93327 | h.1.7 |  |  | 1.2563
Result1: |  |  |  | 0.014388 |  |  |  | Result2: |  |  |  | 0.0038981 | Result3: |  |  | 0.00056701 | Result4: |  |  | 0.00056701 | Result5: |  |  | 0.027541 | Result6: |  |  | 0.011631
1- Calculate |  |  |  |  | 0.0071941
2- Calculate
2.1. Calculate |  |  | 0.025131
2.2. Calculate |  |  | 7.8091
2.3. Calculate |  |  |  | 49.0229
Result: |  |  |  | 0.0040032
3-Calculate
3.1. Calculate |  |  |  | 0.30157
3.2. Calculate |  |  |  | 0.3267
Result |  |  |  | 0.0054902
4-Calculate
4.1. Calculate |  |  |  |  | 0.003597
4.2. Calculate | [5 empty] | 0.0025059
4.3. Calculate | [5 empty] | 0.00022276
Result: | [5 empty] | 0.0013139
5- Calculate
0.022781
5.1. Calculate
0.01963
5.2. Calculate
5.3. Calculate | [5 empty] | 0.0029363
5.4. Calculate | [6 empty] | 0.00097877
Result |  | 0.0051092
Corrected probability is:: | [8 empty] | 0.043638

## Recalculations2
Calculate u0. Sustitute each candidate t-value in u0 equation | [7 empty] | t-statistic= | 4.0487 |  | u0= | 0.26796
Calculate the Incomplete Beta Functions needed for adjustment
Incomplete Beta Function approximation
where
Inputs |  |  |  |  | skewness= |  | 2.4698
x=u0= |  | 0.26796 |  |  | kurtosis= |  | 6.3037
n= |  | 7
t0=t= |  | 3.1427
c.1.) Calculate | [7 empty] | d.1.) Calculate |  |  |  |  | e.1.) Calculate |  |  |  | f.1.) Calculate |  |  |  | g.1.) Calculate |  |  |  | h.1.) Calculate
a= | 3 | [6 empty] | a= | 4 |  |  |  | a= | 5 |  |  | a= | 5 |  |  | a= | 3 |  |  | a= | 4
b= | 0.5 | [6 empty] | b= | 0.5 |  |  |  | b= | 0.5 |  |  | b= | 0.5 |  |  | b= | 1 |  |  | b= | 1
w= | 0.18302 | [6 empty] | w= | 0.18302 |  |  |  | w= | 0.18302 |  |  | w= | 0.18302 |  |  | w= | 0.36604 |  |  | w= | 0.36604
Calculations | [7 empty] | Calculations |  |  |  |  | Calculations |  |  |  | Calculations |  |  |  | Calculations |  |  |  | Calculations
c.1.1. |  | 0.00089125 | [5 empty] | d.1.1. |  | 4.04e-05 |  |  | e.1.1. |  | 1.4696e-06 |  | f.1.1. |  | 1.4696e-06 |  | g.1.1. |  | 0.0062275 |  | h.1.1. |  | 0.00055913
c.1.2. |  | 2 | [5 empty] | d.1.2. |  | 6 |  |  | e.1.2. |  | 24 |  | f.1.2. |  | 24 |  | g.1.2. |  | 2 |  | h.1.2. |  | 6
c.1.3 |  | 0.0025526 | [5 empty] | d.1.3 |  | 0.00015572 |  |  | e.1.3 |  | 7.1251e-06 |  | f.1.3 |  | 7.1251e-06 |  | g.1.3 |  | 0.017005 |  | h.1.3 |  | 0.0020749
c.1.4. |  | 1.817 | [5 empty] | d.1.4. |  | 2.817 |  |  | e.1.4. |  | 3.817 |  | f.1.4. |  | 3.817 |  | g.1.4. |  | 0.81698 |  | h.1.4. |  | 1.317
c.1.5. |  |  |  | 2.6667 |  |  |  | d.1.5. |  |  |  | 11 | e.1.5. |  |  | 28 | f.1.5. |  |  | 28 | g.1.5. |  |  | 2.6667 | h.1.5. |  |  | 11
c.1.6 |  |  |  | 1.5252 |  |  |  | d.1.6 |  |  |  | 3.1113 | e.1.6 |  |  | 5.2466 | f.1.6 |  |  | 5.2466 | g.1.6 |  |  | 3.0503 | h.1.6 |  |  | 6.2227
c.1.7 |  |  |  | 0.14515 |  |  |  | d.1.7 |  |  |  | 0.19539 | e.1.7 |  |  | 0.24564 | f.1.7 |  |  | 0.24564 | g.1.7 |  |  | 0.5806 | h.1.7 |  |  | 0.78157
Result1: |  |  |  | 0.00836 |  |  |  | Result2: |  |  |  | 0.0017038 | Result3: |  |  | 0.00019111 | Result4: |  |  | 0.00019111 | Result5: |  |  | 0.01774 | Result6: |  |  | 0.0056965
1- Calculate |  |  |  |  | 0.00418
2- Calculate
2.1. Calculate |  |  | 0.025131
2.2. Calculate |  |  | 7.8091
2.3. Calculate |  |  |  | 49.0229
Result: |  |  |  | 0.0040032
3-Calculate
3.1. Calculate |  |  |  | 0.30157
3.2. Calculate |  |  |  | 0.3267
Result |  |  |  | 0.0040777
4-Calculate
4.1. Calculate |  |  |  |  | 0.00209
4.2. Calculate | [5 empty] | 0.0010953
4.3. Calculate | [5 empty] | 7.5077e-05
Result: | [5 empty] | 0.0010698
5- Calculate
0.013237
5.1. Calculate
0.0085798
5.2. Calculate
5.3. Calculate | [5 empty] | 0.00098965
5.4. Calculate | [6 empty] | 0.00032988
Result |  | 0.0053166
Corrected probability is:: | [8 empty] | 0.03994

## Recalculations3
Calculate u0. Sustitute each candidate t-value in u0 equation | [7 empty] | t-statistic= | 4.5017 |  | u0= | 0.22844
Calculate the Incomplete Beta Functions needed for adjustment
Incomplete Beta Function approximation
where
Inputs |  |  |  |  | skewness= |  | 2.4698
x=u0= |  | 0.22844 |  |  | kurtosis= |  | 6.3037
n= |  | 7
t0=t= |  | 3.1427
c.1.) Calculate | [7 empty] | d.1.) Calculate |  |  |  |  | e.1.) Calculate |  |  |  | f.1.) Calculate |  |  |  | g.1.) Calculate |  |  |  | h.1.) Calculate
a= | 3 | [6 empty] | a= | 4 |  |  |  | a= | 5 |  |  | a= | 5 |  |  | a= | 3 |  |  | a= | 4
b= | 0.5 | [6 empty] | b= | 0.5 |  |  |  | b= | 0.5 |  |  | b= | 0.5 |  |  | b= | 1 |  |  | b= | 1
w= | 0.14804 | [6 empty] | w= | 0.14804 |  |  |  | w= | 0.14804 |  |  | w= | 0.14804 |  |  | w= | 0.29608 |  |  | w= | 0.29608
Calculations | [7 empty] | Calculations |  |  |  |  | Calculations |  |  |  | Calculations |  |  |  | Calculations |  |  |  | Calculations
c.1.1. |  | 0.0004841 | [5 empty] | d.1.1. |  | 1.7782e-05 |  |  | e.1.1. |  | 5.2385e-07 |  | f.1.1. |  | 5.2385e-07 |  | g.1.1. |  | 0.0034702 |  | h.1.1. |  | 0.00025296
c.1.2. |  | 2 | [5 empty] | d.1.2. |  | 6 |  |  | e.1.2. |  | 24 |  | f.1.2. |  | 24 |  | g.1.2. |  | 2 |  | h.1.2. |  | 6
c.1.3 |  | 0.0013989 | [5 empty] | d.1.3 |  | 6.9032e-05 |  |  | e.1.3 |  | 2.5549e-06 |  | f.1.3 |  | 2.5549e-06 |  | g.1.3 |  | 0.0096516 |  | h.1.3 |  | 0.00095254
c.1.4. |  | 1.852 | [5 empty] | d.1.4. |  | 2.852 |  |  | e.1.4. |  | 3.852 |  | f.1.4. |  | 3.852 |  | g.1.4. |  | 0.85196 |  | h.1.4. |  | 1.352
c.1.5. |  |  |  | 2.6667 |  |  |  | d.1.5. |  |  |  | 11 | e.1.5. |  |  | 28 | f.1.5. |  |  | 28 | g.1.5. |  |  | 2.6667 | h.1.5. |  |  | 11
c.1.6 |  |  |  | 1.2337 |  |  |  | d.1.6 |  |  |  | 2.5167 | e.1.6 |  |  | 4.2438 | f.1.6 |  |  | 4.2438 | g.1.6 |  |  | 2.4673 | h.1.6 |  |  | 5.0333
c.1.7 |  |  |  | 0.094967 |  |  |  | d.1.7 |  |  |  | 0.12784 | e.1.7 |  |  | 0.16071 | f.1.7 |  |  | 0.16071 | g.1.7 |  |  | 0.37987 | h.1.7 |  |  | 0.51136
Result1: |  |  |  | 0.0049681 |  |  |  | Result2: |  |  |  | 0.00079418 | Result3: |  |  | 7.0963e-05 | Result4: |  |  | 7.0963e-05 | Result5: |  |  | 0.011324 | Result6: |  |  | 0.0028695
1- Calculate |  |  |  |  | 0.0024841
2- Calculate
2.1. Calculate |  |  | 0.025131
2.2. Calculate |  |  | 7.8091
2.3. Calculate |  |  |  | 49.0229
Result: |  |  |  | 0.0040032
3-Calculate
3.1. Calculate |  |  |  | 0.30157
3.2. Calculate |  |  |  | 0.3267
Result |  |  |  | 0.0028343
4-Calculate
4.1. Calculate |  |  |  |  | 0.001242
4.2. Calculate | [5 empty] | 0.00051055
4.3. Calculate | [5 empty] | 2.7879e-05
Result: | [5 empty] | 0.00075937
5- Calculate
0.0078662
5.1. Calculate
0.0039993
5.2. Calculate
5.3. Calculate | [5 empty] | 0.00036749
5.4. Calculate | [6 empty] | 0.0001225
Result |  | 0.0041119
Corrected probability is:: | [8 empty] | 0.029781

## Recalculations4
Calculate u0. Sustitute each candidate t-value in u0 equation | [7 empty] | t-statistic= | 4.9547 |  | u0= | 0.19641
Calculate the Incomplete Beta Functions needed for adjustment
Incomplete Beta Function approximation
where
Inputs |  |  |  |  | skewness= |  | 2.4698
x=u0= |  | 0.19641 |  |  | kurtosis= |  | 6.3037
n= |  | 7
t0=t= |  | 3.1427
c.1.) Calculate | [7 empty] | d.1.) Calculate |  |  |  |  | e.1.) Calculate |  |  |  | f.1.) Calculate |  |  |  | g.1.) Calculate |  |  |  | h.1.) Calculate
a= | 3 | [6 empty] | a= | 4 |  |  |  | a= | 5 |  |  | a= | 5 |  |  | a= | 3 |  |  | a= | 4
b= | 0.5 | [6 empty] | b= | 0.5 |  |  |  | b= | 0.5 |  |  | b= | 0.5 |  |  | b= | 1 |  |  | b= | 1
w= | 0.12221 | [6 empty] | w= | 0.12221 |  |  |  | w= | 0.12221 |  |  | w= | 0.12221 |  |  | w= | 0.24441 |  |  | w= | 0.24441
Calculations | [7 empty] | Calculations |  |  |  |  | Calculations |  |  |  | Calculations |  |  |  | Calculations |  |  |  | Calculations
c.1.1. |  | 0.00027761 | [5 empty] | d.1.1. |  | 8.4292e-06 |  |  | e.1.1. |  | 2.0517e-07 |  | f.1.1. |  | 2.0517e-07 |  | g.1.1. |  | 0.0020281 |  | h.1.1. |  | 0.00012238
c.1.2. |  | 2 | [5 empty] | d.1.2. |  | 6 |  |  | e.1.2. |  | 24 |  | f.1.2. |  | 24 |  | g.1.2. |  | 2 |  | h.1.2. |  | 6
c.1.3 |  | 0.00080756 | [5 empty] | d.1.3 |  | 3.2896e-05 |  |  | e.1.3 |  | 1.005e-06 |  | f.1.3 |  | 1.005e-06 |  | g.1.3 |  | 0.0057173 |  | h.1.3 |  | 0.00046579
c.1.4. |  | 1.8778 | [5 empty] | d.1.4. |  | 2.8778 |  |  | e.1.4. |  | 3.8778 |  | f.1.4. |  | 3.8778 |  | g.1.4. |  | 0.87779 |  | h.1.4. |  | 1.3778
c.1.5. |  |  |  | 2.6667 |  |  |  | d.1.5. |  |  |  | 11 | e.1.5. |  |  | 28 | f.1.5. |  |  | 28 | g.1.5. |  |  | 2.6667 | h.1.5. |  |  | 11
c.1.6 |  |  |  | 1.0184 |  |  |  | d.1.6 |  |  |  | 2.0775 | e.1.6 |  |  | 3.5032 | f.1.6 |  |  | 3.5032 | g.1.6 |  |  | 2.0368 | h.1.6 |  |  | 4.155
c.1.7 |  |  |  | 0.064715 |  |  |  | d.1.7 |  |  |  | 0.087117 | e.1.7 |  |  | 0.10952 | f.1.7 |  |  | 0.10952 | g.1.7 |  |  | 0.25886 | h.1.7 |  |  | 0.34847
Result1: |  |  |  | 0.0030378 |  |  |  | Result2: |  |  |  | 0.00039242 | Result3: |  |  | 2.8635e-05 | Result4: |  |  | 2.8635e-05 | Result5: |  |  | 0.0072926 | Result6: |  |  | 0.001499
1- Calculate |  |  |  |  | 0.0015189
2- Calculate
2.1. Calculate |  |  | 0.025131
2.2. Calculate |  |  | 7.8091
2.3. Calculate |  |  |  | 49.0229
Result: |  |  |  | 0.0040032
3-Calculate
3.1. Calculate |  |  |  | 0.30157
3.2. Calculate |  |  |  | 0.3267
Result |  |  |  | 0.0019305
4-Calculate
4.1. Calculate |  |  |  |  | 0.00075946
4.2. Calculate | [5 empty] | 0.00025227
4.3. Calculate | [5 empty] | 1.1249e-05
Result: | [5 empty] | 0.00051844
5- Calculate
0.0048099
5.1. Calculate
0.0019761
5.2. Calculate
5.3. Calculate | [5 empty] | 0.00014829
5.4. Calculate | [6 empty] | 4.9429e-05
Result |  | 0.0029326
Corrected probability is:: | [8 empty] | 0.020908

## Recalculations5
Calculate u0. Sustitute each candidate t-value in u0 equation | [7 empty] | t-statistic= | 5.4077 |  | u0= | 0.17025
Calculate the Incomplete Beta Functions needed for adjustment
Incomplete Beta Function approximation
where
Inputs |  |  |  |  | skewness= |  | 2.4698
x=u0= |  | 0.17025 |  |  | kurtosis= |  | 6.3037
n= |  | 7
t0=t= |  | 3.1427
c.1.) Calculate | [7 empty] | d.1.) Calculate |  |  |  |  | e.1.) Calculate |  |  |  | f.1.) Calculate |  |  |  | g.1.) Calculate |  |  |  | h.1.) Calculate
a= | 3 | [6 empty] | a= | 4 |  |  |  | a= | 5 |  |  | a= | 5 |  |  | a= | 3 |  |  | a= | 4
b= | 0.5 | [6 empty] | b= | 0.5 |  |  |  | b= | 0.5 |  |  | b= | 0.5 |  |  | b= | 1 |  |  | b= | 1
w= | 0.10259 | [6 empty] | w= | 0.10259 |  |  |  | w= | 0.10259 |  |  | w= | 0.10259 |  |  | w= | 0.20518 |  |  | w= | 0.20518
Calculations | [7 empty] | Calculations |  |  |  |  | Calculations |  |  |  | Calculations |  |  |  | Calculations |  |  |  | Calculations
c.1.1. |  | 0.00016666 | [5 empty] | d.1.1. |  | 4.2522e-06 |  |  | e.1.1. |  | 8.6944e-08 |  | f.1.1. |  | 8.6944e-08 |  | g.1.1. |  | 0.0012353 |  | h.1.1. |  | 6.2701e-05
c.1.2. |  | 2 | [5 empty] | d.1.2. |  | 6 |  |  | e.1.2. |  | 24 |  | f.1.2. |  | 24 |  | g.1.2. |  | 2 |  | h.1.2. |  | 6
c.1.3 |  | 0.00048721 | [5 empty] | d.1.3 |  | 1.6661e-05 |  |  | e.1.3 |  | 4.2731e-07 |  | f.1.3 |  | 4.2731e-07 |  | g.1.3 |  | 0.0035177 |  | h.1.3 |  | 0.00024058
c.1.4. |  | 1.8974 | [5 empty] | d.1.4. |  | 2.8974 |  |  | e.1.4. |  | 3.8974 |  | f.1.4. |  | 3.8974 |  | g.1.4. |  | 0.89741 |  | h.1.4. |  | 1.3974
c.1.5. |  |  |  | 2.6667 |  |  |  | d.1.5. |  |  |  | 11 | e.1.5. |  |  | 28 | f.1.5. |  |  | 28 | g.1.5. |  |  | 2.6667 | h.1.5. |  |  | 11
c.1.6 |  |  |  | 0.85491 |  |  |  | d.1.6 |  |  |  | 1.744 | e.1.6 |  |  | 2.9409 | f.1.6 |  |  | 2.9409 | g.1.6 |  |  | 1.7098 | h.1.6 |  |  | 3.488
c.1.7 |  |  |  | 0.045606 |  |  |  | d.1.7 |  |  |  | 0.061393 | e.1.7 |  |  | 0.07718 | f.1.7 |  |  | 0.07718 | g.1.7 |  |  | 0.18243 | h.1.7 |  |  | 0.24557
Result1: |  |  |  | 0.0019124 |  |  |  | Result2: |  |  |  | 0.00020421 | Result3: |  |  | 1.241e-05 | Result4: |  |  | 1.241e-05 | Result5: |  |  | 0.0047725 | Result6: |  |  | 0.00081297
1- Calculate |  |  |  |  | 0.00095622
2- Calculate
2.1. Calculate |  |  | 0.025131
2.2. Calculate |  |  | 7.8091
2.3. Calculate |  |  |  | 49.0229
Result: |  |  |  | 0.0040032
3-Calculate
3.1. Calculate |  |  |  | 0.30157
3.2. Calculate |  |  |  | 0.3267
Result |  |  |  | 0.001314
4-Calculate
4.1. Calculate |  |  |  |  | 0.00047811
4.2. Calculate | [5 empty] | 0.00013128
4.3. Calculate | [5 empty] | 4.8752e-06
Result: | [5 empty] | 0.00035171
5- Calculate
0.003028
5.1. Calculate
0.0010283
5.2. Calculate
5.3. Calculate | [5 empty] | 6.4265e-05
5.4. Calculate | [6 empty] | 2.1422e-05
Result |  | 0.0020425
Corrected probability is:: | [8 empty] | 0.014444

## Recalculations6
Calculate u0. Sustitute each candidate t-value in u0 equation | [7 empty] | t-statistic= | 5.8607 |  | u0= | 0.14871
Calculate the Incomplete Beta Functions needed for adjustment
Incomplete Beta Function approximation
where
Inputs |  |  |  |  | skewness= |  | 2.4698
x=u0= |  | 0.14871 |  |  | kurtosis= |  | 6.3037
n= |  | 7
t0=t= |  | 3.1427
c.1.) Calculate | [7 empty] | d.1.) Calculate |  |  |  |  | e.1.) Calculate |  |  |  | f.1.) Calculate |  |  |  | g.1.) Calculate |  |  |  | h.1.) Calculate
a= | 3 | [6 empty] | a= | 4 |  |  |  | a= | 5 |  |  | a= | 5 |  |  | a= | 3 |  |  | a= | 4
b= | 0.5 | [6 empty] | b= | 0.5 |  |  |  | b= | 0.5 |  |  | b= | 0.5 |  |  | b= | 1 |  |  | b= | 1
w= | 0.087343 | [6 empty] | w= | 0.087343 |  |  |  | w= | 0.087343 |  |  | w= | 0.087343 |  |  | w= | 0.17469 |  |  | w= | 0.17469
Calculations | [7 empty] | Calculations |  |  |  |  | Calculations |  |  |  | Calculations |  |  |  | Calculations |  |  |  | Calculations
c.1.1. |  | 0.00010403 | [5 empty] | d.1.1. |  | 2.2615e-06 |  |  | e.1.1. |  | 3.9389e-08 |  | f.1.1. |  | 3.9389e-08 |  | g.1.1. |  | 0.00077978 |  | h.1.1. |  | 3.3752e-05
c.1.2. |  | 2 | [5 empty] | d.1.2. |  | 6 |  |  | e.1.2. |  | 24 |  | f.1.2. |  | 24 |  | g.1.2. |  | 2 |  | h.1.2. |  | 6
c.1.3 |  | 0.00030529 | [5 empty] | d.1.3 |  | 8.8884e-06 |  |  | e.1.3 |  | 1.9408e-07 |  | f.1.3 |  | 1.9408e-07 |  | g.1.3 |  | 0.0022381 |  | h.1.3 |  | 0.00013032
c.1.4. |  | 1.9127 | [5 empty] | d.1.4. |  | 2.9127 |  |  | e.1.4. |  | 3.9127 |  | f.1.4. |  | 3.9127 |  | g.1.4. |  | 0.91266 |  | h.1.4. |  | 1.4127
c.1.5. |  |  |  | 2.6667 |  |  |  | d.1.5. |  |  |  | 11 | e.1.5. |  |  | 28 | f.1.5. |  |  | 28 | g.1.5. |  |  | 2.6667 | h.1.5. |  |  | 11
c.1.6 |  |  |  | 0.72786 |  |  |  | d.1.6 |  |  |  | 1.4848 | e.1.6 |  |  | 2.5038 | f.1.6 |  |  | 2.5038 | g.1.6 |  |  | 1.4557 | h.1.6 |  |  | 2.9697
c.1.7 |  |  |  | 0.033058 |  |  |  | d.1.7 |  |  |  | 0.044501 | e.1.7 |  |  | 0.055944 | f.1.7 |  |  | 0.055944 | g.1.7 |  |  | 0.13223 | h.1.7 |  |  | 0.178
Result1: |  |  |  | 0.0012378 |  |  |  | Result2: |  |  |  | 0.00011123 | Result3: |  |  | 5.7202e-06 | Result4: |  |  | 5.7202e-06 | Result5: |  |  | 0.0031825 | Result6: |  |  | 0.00045706
1- Calculate |  |  |  |  | 0.00061892
2- Calculate
2.1. Calculate |  |  | 0.025131
2.2. Calculate |  |  | 7.8091
2.3. Calculate |  |  |  | 49.0229
Result: |  |  |  | 0.0040032
3-Calculate
3.1. Calculate |  |  |  | 0.30157
3.2. Calculate |  |  |  | 0.3267
Result |  |  |  | 0.00090191
4-Calculate
4.1. Calculate |  |  |  |  | 0.00030946
4.2. Calculate | [5 empty] | 7.1507e-05
4.3. Calculate | [5 empty] | 2.2472e-06
Result: | [5 empty] | 0.0002402
5- Calculate
0.0019599
5.1. Calculate
0.00056014
5.2. Calculate
5.3. Calculate | [5 empty] | 2.9623e-05
5.4. Calculate | [6 empty] | 9.8742e-06
Result |  | 0.0014195
Corrected probability is:: | [8 empty] | 0.0099915

## UPL Normal
Emissions (lb/MW) | Hg
52071
ORIS/Facility/Unit | Sandow
Runs | 5B
1 | 7.2e-06
2 | 9.989e-06
3 | 1e-05
4 | 1.337e-05
5 | 1.66e-05
6 | 1.6283e-05
Outlier Removed (This was a single run test because 2 of 3 runs failed spike recovery).==>
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
ni = number test Runs = | 6
Total Number of sources = |  | 1
n =Total # test Runs = |  | 6
5
This step is for QC only:
means | 1.224e-05
1.224e-05
UPL Mean =
Pooled Variance = |  | 1.4423e-11
m= number future Runs = |  | 3
Term1 |  | 0.5
Term2 |  | 7.2115e-12
Squared root Term2 |  | 2.6854e-06
NOTE: the pvalue for the t-statistic is calculated as: 2*alpha, where 1-alpha is desired confidence, so if 99% confidence is desired then alpha=0.01 and 2*alpha=2*(0.01)
t-statistic | = quantile t-distribution with df degrees of freedom at .99 confidence level = | 3.3649
UPL POOLED VARIANCE = |  | 2.1276e-05 | lb/MW | 0.021276 | lb/GWhr
| Normal UPL | 2.017e-05
| Lognormal UPL | 2.148e-05 | lb/MW
| Final UPL (lognormal distribution) | 2.148e-05 | lb/MW | 0.02148 | lb/GWhr