# Oil-fired Mini-Work Group

### Issues Summary

August 7, 2002 – Draft

Prepared by Michael Shore, Environmental Defense

# The follow is a summary of issues being considered by the Oil-Fired Mini Work to provide guidance to EPA on establishing nickel standards for oil-fired utility boilers.   This document represents only Michael Shore’s perspective and does not reflect necessarily the diverse opinions on the mini-work group.

# THE DATA

As of 1998, here is a profile of the oil industry.

- 151 facilities burning more than 50% oil

- 114 facilities burning more than 90% oil

- 90 facilities burning 100% oil

According to the excel file, oilhaps.xls, on the EPA website, there are emissions data for 12 units.  Emissions data are presented for 15 heavy metals, but no other HAPS.   3 of these units have ESPs and 1 has a Jet Pulse Fabric Filter.

Standards could be based on any of the heavy metals listed in the first database, but nickel stands out because of the health attention it has received.   In the data set in the table below, three of the data points are taken from the same facility (site 13) with different control devices.  Also, note that the worst performing unit on the list has an ESP, but it did not appear to be working during the test period.   The best performing sample appears to be from a pilot test.

Industry stakeholders have expressed concern that the data is not good enough to develop a precise emission standard.  Other stakeholders believe the data set is adequate.

| Nickel Emissions – Outlet Data (lbs/trillion BTU) in order of performance |  |
| --- | --- |
| 1.60 | Site 13 w/Jet Pulse Fabric Filter |
| 50.50 | ESP |
| 238.00 | Uncontrolled |
| 306.01 | ESP |
| 347.70 | Uncontrolled |
| 362.52 | Uncontrolled |
| 383.18 | Uncontrolled |
| 407.53 | Uncontrolled |
| 526.05 | Uncontrolled |
| 800.62 | Uncontrolled |
| 1353.88 | Site 13 w/NOx controls |
| 1399.37 | Uncontrolled |
| 1827.15 | Site 13 uncontrolled |
| 2167.47 | ESP (with only 3.7% capture rate) |

# CALCULATING A MACT FLOOR

There are 14 data points.  There are at least two options for developing a standard based on this data set:

- Option A – Best 2 data points representing the top 12% of the data set [112 (d) (3) (a)]

- Option B – Best 5 data points since there are less than 30 points in the data set [112 (d) (3) (b)

The best performing of these data points is apparently from a pilot test.  The utilities argue that it could not be used to set a standard, as it not a technology that is commercially demonstrated, and it achieved this high level of performance only over a short time period.   Others have argued that this data point is legitimate, and EPA needs to clarify its criteria for when pilot test can be used.

Based on options A and B above and decisions regarding the pilot, the floor could be between 26 and 261 lbs. per trillion BTU or an output-based equivalence.

# FORM OF STANDARD

There are at least two options for setting nickel standard for the oil-fired units based on the floor above.  Depending on how standard is constructed, compliance with standards may be achieved by a combination of installing control equipment, developing low nickel oil as a fuel sources, and burning less oil.

Option 1:  Rate-based standard.   The unit or facility would be required to meet the floor over a specified averaging period.   The longer the averaging period, the more flexibility the company has in meeting the standard.

## Advantages

- If the standard were based on a long averaging period, most facilities would have considerable flexibility.

- Unlike tonnage cap, it does not need to rely on historical use of oil -- which may not be indicative of future use -- to establish a standard

- It is possible to explore the feasibility of establishing an output-based standard.

- If the rate-based standard were applied to a facility instead of unit by unit, it could provide additional compliance flexibility.

- If the rate-based standard were set based on BTU input or energy output over the averaging period (as opposed basing the standard only on periods when oil is  combusted), it would allow for burning less oil as a compliance strategy.

## Disadvantages

- A poorly designed rate-based standard may limit the applicability of compliance options such as burning less oil.

- A poorly designed rate-based standards may put peaking units at a disadvantage as they may not be able to take advantage of a long averaging period.

- Industry has expressed the concern that this approach would economically preclude burning oil at many units due to potentially high capital costs of installing emission controls.  On the other hand, the environmental community believes that a rate-based standard could be designed to provide the industry flexibility so installation of control equipment is not the only option available to facilities.

Option 2:  Plant specific annual tonnage cap.    The tonnage cap could be set by multiplying the floor (as discussed above) by the average oil BTU input over a 10-year historical period for the facility.

## Advantages

Bill Bumpers describes the advantages of this approach as follows:

The electric generating industry prefers that any MACT standard be expressed as an annual mass limit for multiple reasons.  Most of the oil-fired generators in the country are utilized for non-baseload purposes.  That is, they operate for relatively short periods of time.  Many of these units also have dual-fuel capability to some extent.  Some units have the ability to burn natural gas, whenever gas is available, while others have the ability to burn gas as a supplemental fuel.  For many units, particularly in the Northeast, having the ability to burn both oil and gas is critical to ensuring reliability because of the frequent gas curtailments during winter.  Without the ability to burn oil during the winter peaks, many units would be forced to retire.  Similarly, these units are typically used for peaking purposes only so that any requirement to install control devices (e.g. electrostatic precipitators) to meet a short term emission rate limit would require the unit to retire.

The industry prefers setting an annual mass emission limit because it would allow units greater flexibility in meeting the limit, while achieving the same environmental objective.  A unit would have multiple options to meet the annual limit.  The options would include:

- Installing particulate control devices

- Co-firing with natural gas

- Fuel switching to natural gas

- Contracting for lower-nickel oil

- Reduced utilization

- Load shifting to cleaner generation

Each plant would be able to make compliance decisions that best suit the plant’s situation, depending on fuel availability, operating levels, curtailment requirements, etc.  In addition, the compliance monitoring would be much easier with a mass emission limit.

## Disadvantages

- Historical usage may not be reflective of future use.    The standard would have the potential to be lax at some facilities and unachievable at others

# MONITORING REGIME

The mini-work group has not discussed monitoring.  However, one proposal would be as follows:

- If No particulate control in place:  (1) analyze monthly composite sample of oil; (2) determine annual weighted average based on rolling12 months; and (3) weight average by amount of oil used each month.

- If Particulate control in place:  In addition to the oil sampling, (1) do annual testing of control device to determine metal removal efficiency, and (2) apply that efficiency factor to the determination of the metal emission rate as determined above.

# BACKGROUND INFORMATION

On the EPA website, the following background documents can be found on oil-fired units:

- oilhaps.xls – This excel file contains emission results for heavy metal HAPS from 12 oil-fired units.

- Oil_2501.xls – This excel file contains the profile data for oil fired boilers extracted from E-Grid 2000.

- Draftoilni.pdf – This file is a recent draft memo to Bill Maxwell from an EPA staff person that describes the health risks of nickel emissions from oil-fired boilers.

4.   oil-presentation.ppt – This is Bill Maxwell’s power point presentation on oil-fired units to the full working group on March 5, 2002.