## Instructions
Template for Entering Candidate Method Test
Data and Calculating Test Results Related to a
Request for Approval of an Approved Regional
| Method (ARM) for PM2.5 [40 CFR 58, Appendix C] |  | "Small" Cap. 122
Instructions
This suite of spreadsheets is intended for entering and analyzing field test data obtained from the Comparability tests required for Class III candidate approved regional methods (ARMs) for PM2.5, according to new regulatory provisions of 40 CFR Part 58, Appendix C that became effective on December 18, 2006. (See Section 2.4 of Appendix C to Part 58, (U.S. Federal Register, Volume 71, October 17, 2006, page 61313).
This spreadsheet is designed to run on Excel 2003 (with zoom set to 100%). It appears to run properly on Excel 2000, but the Precision (if used) and Regression sheets must be unprotected (Tools>Protection>Unprotect Sheet) to make the data filters work. Also, for best viewing, the zoom should be set to 75%.
1. Enter applicant, candidate method, site, sampling frequency, and other identification information in the "Title" tab.
2. The test data should be in the form of daily "data sets" consisting of nominal 24-hour integrated ambient PM concentration measurements, with each set containing at least 1 FRM measurement and at least 1 collocated and concurrent candidate FEM measurement, in μg/m3. A minimum of 90 data sets are required. Data sets having a mean FRM concentration measurement less than 3 μg/m3 should be entered to count towards the 90-set minimum, but such data sets may be excluded from the regression analysis on the "Regression" tab -- by deleting the "ok" in the Validity column.
3. If the daily data sets contain only 1 FRM measurement or 1 candidate ARM measurement, the single-measurement data may be optionally entered directly in the "Regression" tab in the appropriate "Data set means" column (enter any comments in the cell to the right) rather than in the "Raw FRM data" or "Raw candidate data" tabs. However, note that doing so will permanently override any corresponding data entered on the Raw data sheets. Note also that precision cannot be calculated for single-measurement FRM or single-measurement candidate data sets.
4. If the daily data sets include multiple FRM or multiple candidate ARM measurements, enter the FRM data first (if multiple) at the "Raw FRM data" tab, because the test dates associated with each data set will then be automatically carried to the "Raw candidate data" sheet. Then enter the candidate method data (if multiple) at the "Raw Candidate data" tab. Use the Comments columns to enter any possibly pertinent information about any of the measurements in either the FRM or Candidate data subset.
5. If 2 or more FRM measurements are entered for a data set, the data are automatically checked according to an outlier test, and the mean and precision are calculated. The outlier test results are for information purposes only and are not used in any test results. Do not delete any invalid data sets on this "Raw FRM data" tab; invalid data sets will be filtered out later on other sheets.
6. This spreadsheet allows for entry of up to 122 data sets (one year of 1:3 data). If more than 122 data sets will be required, the full spreadsheet should be used. Note that the summary statistics at the bottom of the spreadsheet are for informational purposes only as they include any invalid data sets. The formal summary statistics using only valid data are calculated in the "Precision" (if applicable) and "Regression" tabs.
7. Similarly, enter the multiple candidate ARM data at the "Raw candidate data" tab. Again, the mean and precision are calculated, and an outlier test will check the data, but the outlier test results are ignored for test purposes. Do not delete any invalid data sets on this "Raw candidate data" tab as invalid data sets will be filtered out in other tabs. Note that the summary statistics at the bottom of the spreadsheet are for informational purposes only as they include any invalid data sets. The formal summary test statistics using only valid data are calculated in other tabs.
8. If multiple FRM or candidate ARM method measurements are entered for each data set, the mean concentrations for the FRM and/or candidate ARM methods for each data set are presented in the "Precision" tab, along with both the absolute precision (μg/m3) and relative precision (CV), with the later precision (CV) being the relevant one for purposes of characterizing the candidate ARM. Important: all invalid data sets must be filtered out in the "Precision" tab so that the test result calculations will be correct at the bottom of the sheet. Follow the instructions in the box in the upper right corner of the sheet.
9. The required linear regression calculations are carried out in the "Regression" tab. Important: all invalid data sets must be filtered out in the "Regression" tab so that the test result calculations will be correct at the bottom of the sheet. Follow the instructions in the box in the upper right of the sheet. Data sets having FRM concentrations less than 3 ug/m3 may be excluded, if desired, from the test but can still be counted against the 90 set minimum. To exclude such low concentration data sets, change "ok" to "x" in the "Regression" tab, then click on the ▼ filter in the Validity column and select "ok."
10. If new data are entered after filtering out the invalid data sets, click on the ▼ in the "Data set Validity" column of both the Precision (if applicable) and Regression tabs, then click on "all" to include the new data. Then click on ▼ and "ok" again to filter out the invalid data sets.
11. Required data calculations for the ARM test results are presented on the "Summary" tab, along with the test requirements and a "pass" or "fail" indication. Charts present the regression results graphically. If the charts do not plot correctly, follow the instructions at the bottom of the "Summary" sheet. If the data sets contain only single candidate method measurements, precision for the candidate method cannot be determined and must be obtained from other data.
Version 0.3 - 3/15/07 F. McElroy, RTI International; T. Hanley, US EPA

## Title
Template for Entering Candidate Method Test
Data and Calculating Results Related to a
Request for Approval of an Approved Regional
Method (ARM) for PM2.5 [40 CFR 58, Appendix C♦]
Brief Instructions: | Applicant:
● Enter applicant, candidate | Applicant Agency:
method, and test site | ● Applicant contact:
information here ►. | Agency address:
● Enter test data on the "Raw | Agency address:
FRM data" and "Raw | Agency address:
candidate data" sheets ▼.
■ If data sets include only | Candidate Method:
single FRM or candidate | Description:
ARM measurements, the | Temperature:
data may be entered directly | Rel. Humidity:
on the "Regression" sheet ▼ | Data transformation?
● Select valid data sets on the
"Precision" (if used) and | Test site:
"Regression" sheets* ▼. | Site Name:
● View test results on the | Site ID:
"Summary" sheet* ▼. | Site MSA:
Site type:
*Additional instructions on sheet. | FRM sample freq.:
▼More complete instructions
♦Title 40, Part 58 of the Code of Federal Regulations, revised December 18, 2006 (Federal Register, Volume 71, page 61313, October 17, 2006).
**ARM PM Coparability Test data template.XLT.
Note on G16: Enter a brief identification of the candidate method.
Note on G19: Please indicate whether a data transformation is part of the candidate ARM.
Note on G23: Please enter an identification for the test site.
Note on G24: Please enter the site ID information.
Note on G17: Enter any special temperature setting used for the candidate method.
Note on G18: Enter any special relative humidity setting that is used for the candidate method.

## Raw FRM data
Reference Method (FRM) data entry
Applicant:
Candidate method:
Test site:
Set | Test | FRM measurements, μg/m3 |  |  | Used for outlier test |  |  | Outlier tests |  |  | Number | FRM Set | Final data set |  |  | Mean | Precision | CV
No. | Date | Sampler 1 | Sampler 2 | Sampler 3 | 1 | 2 | 3 | Sampler 1 | Sampler 2 | Sampler 3 | of values | Validity | 1 | 2 | 3 | μg/m3 | μg/m3 | % | Comments regarding FRM data set
1 |  |  |  |  | 0 | 0 | 0
2 |  |  |  |  | 0 | 0 | 0
3 |  |  |  |  | 0 | 0 | 0
4 |  |  |  |  | 0 | 0 | 0
5 |  |  |  |  | 0 | 0 | 0
6 |  |  |  |  | 0 | 0 | 0
7 |  |  |  |  | 0 | 0 | 0
8 |  |  |  |  | 0 | 0 | 0
9 |  |  |  |  | 0 | 0 | 0
10 |  |  |  |  | 0 | 0 | 0
11 |  |  |  |  | 0 | 0 | 0
12 |  |  |  |  | 0 | 0 | 0
13 |  |  |  |  | 0 | 0 | 0
14 |  |  |  |  | 0 | 0 | 0
15 |  |  |  |  | 0 | 0 | 0
16 |  |  |  |  | 0 | 0 | 0
17 |  |  |  |  | 0 | 0 | 0
18 |  |  |  |  | 0 | 0 | 0
19 |  |  |  |  | 0 | 0 | 0
20 |  |  |  |  | 0 | 0 | 0
21 |  |  |  |  | 0 | 0 | 0
22 |  |  |  |  | 0 | 0 | 0
23 |  |  |  |  | 0 | 0 | 0
24 |  |  |  |  | 0 | 0 | 0
25 |  |  |  |  | 0 | 0 | 0
26 |  |  |  |  | 0 | 0 | 0
27 |  |  |  |  | 0 | 0 | 0
28 |  |  |  |  | 0 | 0 | 0
29 |  |  |  |  | 0 | 0 | 0
30 |  |  |  |  | 0 | 0 | 0
31 |  |  |  |  | 0 | 0 | 0
32 |  |  |  |  | 0 | 0 | 0
33 |  |  |  |  | 0 | 0 | 0
34 |  |  |  |  | 0 | 0 | 0
35 |  |  |  |  | 0 | 0 | 0
36 |  |  |  |  | 0 | 0 | 0
37 |  |  |  |  | 0 | 0 | 0
38 |  |  |  |  | 0 | 0 | 0
39 |  |  |  |  | 0 | 0 | 0
40 |  |  |  |  | 0 | 0 | 0
41 |  |  |  |  | 0 | 0 | 0
42 |  |  |  |  | 0 | 0 | 0
43 |  |  |  |  | 0 | 0 | 0
44 |  |  |  |  | 0 | 0 | 0
45 |  |  |  |  | 0 | 0 | 0
46 |  |  |  |  | 0 | 0 | 0
47 |  |  |  |  | 0 | 0 | 0
48 |  |  |  |  | 0 | 0 | 0
49 |  |  |  |  | 0 | 0 | 0
50 |  |  |  |  | 0 | 0 | 0
51 |  |  |  |  | 0 | 0 | 0
52 |  |  |  |  | 0 | 0 | 0
53 |  |  |  |  | 0 | 0 | 0
54 |  |  |  |  | 0 | 0 | 0
55 |  |  |  |  | 0 | 0 | 0
56 |  |  |  |  | 0 | 0 | 0
57 |  |  |  |  | 0 | 0 | 0
58 |  |  |  |  | 0 | 0 | 0
59 |  |  |  |  | 0 | 0 | 0
60 |  |  |  |  | 0 | 0 | 0
61 |  |  |  |  | 0 | 0 | 0
62 |  |  |  |  | 0 | 0 | 0
63 |  |  |  |  | 0 | 0 | 0
64 |  |  |  |  | 0 | 0 | 0
65 |  |  |  |  | 0 | 0 | 0
66 |  |  |  |  | 0 | 0 | 0
67 |  |  |  |  | 0 | 0 | 0
68 |  |  |  |  | 0 | 0 | 0
69 |  |  |  |  | 0 | 0 | 0
70 |  |  |  |  | 0 | 0 | 0
71 |  |  |  |  | 0 | 0 | 0
72 |  |  |  |  | 0 | 0 | 0
73 |  |  |  |  | 0 | 0 | 0
74 |  |  |  |  | 0 | 0 | 0
75 |  |  |  |  | 0 | 0 | 0
76 |  |  |  |  | 0 | 0 | 0
77 |  |  |  |  | 0 | 0 | 0
78 |  |  |  |  | 0 | 0 | 0
79 |  |  |  |  | 0 | 0 | 0
80 |  |  |  |  | 0 | 0 | 0
81 |  |  |  |  | 0 | 0 | 0
82 |  |  |  |  | 0 | 0 | 0
83 |  |  |  |  | 0 | 0 | 0
84 |  |  |  |  | 0 | 0 | 0
85 |  |  |  |  | 0 | 0 | 0
86 |  |  |  |  | 0 | 0 | 0
87 |  |  |  |  | 0 | 0 | 0
88 |  |  |  |  | 0 | 0 | 0
89 |  |  |  |  | 0 | 0 | 0
90 |  |  |  |  | 0 | 0 | 0
91 |  |  |  |  | 0 | 0 | 0
92 |  |  |  |  | 0 | 0 | 0
93 |  |  |  |  | 0 | 0 | 0
94 |  |  |  |  | 0 | 0 | 0
95 |  |  |  |  | 0 | 0 | 0
96 |  |  |  |  | 0 | 0 | 0
97 |  |  |  |  | 0 | 0 | 0
98 |  |  |  |  | 0 | 0 | 0
99 |  |  |  |  | 0 | 0 | 0
100 |  |  |  |  | 0 | 0 | 0
101 |  |  |  |  | 0 | 0 | 0
102 |  |  |  |  | 0 | 0 | 0
103 |  |  |  |  | 0 | 0 | 0
104 |  |  |  |  | 0 | 0 | 0
105 |  |  |  |  | 0 | 0 | 0
106 |  |  |  |  | 0 | 0 | 0
107 |  |  |  |  | 0 | 0 | 0
108 |  |  |  |  | 0 | 0 | 0
109 |  |  |  |  | 0 | 0 | 0
110 |  |  |  |  | 0 | 0 | 0
111 |  |  |  |  | 0 | 0 | 0
112 |  |  |  |  | 0 | 0 | 0
113 |  |  |  |  | 0 | 0 | 0
114 |  |  |  |  | 0 | 0 | 0
115 |  |  |  |  | 0 | 0 | 0
116 |  |  |  |  | 0 | 0 | 0
117 |  |  |  |  | 0 | 0 | 0
118 |  |  |  |  | 0 | 0 | 0
119 |  |  |  |  | 0 | 0 | 0
120 |  |  |  |  | 0 | 0 | 0
121 |  |  |  |  | 0 | 0 | 0
122 |  |  |  |  | 0 | 0 | 0
[12 empty] | Valid sets |  |  |  | All sets | Precision | CV
| Count | 0 | 0 | 0 | [6 empty] | Count | 0 |  |  |  | 0 | 0 | 0
| Max | 0 | 0 | 0 | [6 empty] | Max |  |  |  |  | 0 | 0 | 0%
| Min | 0 | 0 | 0 | [6 empty] | Min |  |  |  |  | 0 | 0 | 0%
| Mean | [9 empty] | Mean
Note on T9: Precision of the FRM data set, RPj [§53.35(e)(1), Equation 13], if more than one value is entered. CV = std. dev.(Col. T)/mean (Col. S).
Note on S9: Precision as standard deviation of the FRM data set, if more than one value entered.
Note on C11: Enter date on which the test data set was obtained.
Note on R134: Unofficial - includes non-valid data sets. See the "Precision" or "Regression" sheets for official test purposes.
Note on J9: Tests for FRM outliers - results are not used.
Note on M9: The number of FRM measurements entered.
Note on N9: Determines the validity of the FRM data set based on having at least 2 valid FRM measurements [§53.35(c)(2)] within the mean acceptable concentration range of 3 - 200 μg/m3 [Table C-4].
Note on R9: Mean of the FRM measurements.
Note on Q9: Valid FRM measurements, based on the results of the outlier test.
Note on O9: Valid FRM measurements, based on the results of the outlier test.
Note on P9: Valid FRM measurements, based on the results of the outlier test.
Note on S134: Unofficial - includes non-valid data sets.
Note on T134: Unofficial - includes non-valid data sets. See the "Precision" sheet for precision for test purposes.
Note on C9: Enter date applicable to the test data set.
Note on T135: Unofficial - includes non-valid data sets. See the "Precision" sheet for precision for test purposes.
Note on T136: Unofficial - includes non-valid data sets. See the "Precision" sheet for precision for test purposes.
Note on T137: Unofficial - includes non-valid data sets. See the "Precision" sheet for precision for test purposes.
Note on T138: Unofficial - includes non-valid data sets. See the "Precision" sheet for precision for test purposes.
Note on S135: Unofficial - includes non-valid data sets.
Note on S136: Unofficial - includes non-valid data sets.
Note on S137: Unofficial - includes non-valid data sets.
Note on S138: Unofficial - includes non-valid data sets.
Note on R135: Unofficial - includes non-valid data sets. See the "Precision" or "Regression" sheets for official test purposes.
Note on R136: Unofficial - includes non-valid data sets. See the "Precision" or "Regression" sheets for official test purposes.
Note on R137: Unofficial - includes non-valid data sets. See the "Precision" or "Regression" sheets for official test purposes.
Note on R138: Unofficial - includes non-valid data sets. See the "Precision" or "Regression" sheets for official test purposes.
Note on N134: See the "Precision" or "Regression" sheets for official calculations for valid data sets.
Note on K9: Tests for FRM outliers - Results are not used.
Note on L9: Tests for FRM outliers - Results are not used.

## Raw candidate data
Candidate Method (ARM) data entry
Applicant:
Candidate method:
Test site:
Set | Test | Candidate measurements, μg/m3 |  |  | Used for outlier test |  |  | Outlier tests: NOT APPLICABLE |  |  | Values | Cand. Set | Mean | Precision | CV
No. | Date | Unit 1 | Unit 2 | Unit 3 | 1 | 2 | 3 | Sampler 1 | Sampler 2 | Sampler 3 | Available | Validity | μg/m3 | μg/m3 | % | Comment regarding candidate data set
1 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
2 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
3 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
4 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
5 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
6 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
7 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
8 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
9 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
10 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
11 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
12 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
13 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
14 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
15 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
16 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
17 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
18 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
19 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
20 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
21 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
22 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
23 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
24 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
25 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
26 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
27 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
28 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
29 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
30 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
31 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
32 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
33 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
34 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
35 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
36 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
37 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
38 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
39 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
40 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
41 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
42 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
43 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
44 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
45 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
46 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
47 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
48 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
49 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
50 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
51 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
52 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
53 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
54 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
55 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
56 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
57 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
58 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
59 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
60 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
61 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
62 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
63 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
64 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
65 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
66 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
67 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
68 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
69 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
70 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
71 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
72 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
73 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
74 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
75 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
76 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
77 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
78 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
79 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
80 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
81 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
82 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
83 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
84 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
85 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
86 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
87 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
88 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
89 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
90 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
91 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
92 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
93 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
94 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
95 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
96 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
97 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
98 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
99 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
100 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
101 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
102 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
103 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
104 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
105 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
106 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
107 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
108 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
109 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
110 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
111 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
112 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
113 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
114 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
115 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
116 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
117 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
118 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
119 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
120 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
121 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
122 |  | Used for outlier test 1: 0; Used for outlier test 2: 0; Used for outlier test 3: 0
[12 empty] | Valid sets | All sets | Precision | CV
| Count | Candidate measurements, μg/m3 Unit 1: 0; Candidate measurements, μg/m3 Unit 2: 0; Candidate measurements, μg/m3 Unit 3: 0 |  |  |  | Count | 0 | 0 | 0 | 0
| Max | Candidate measurements, μg/m3 Unit 1: 0; Candidate measurements, μg/m3 Unit 2: 0; Candidate measurements, μg/m3 Unit 3: 0 |  |  |  | Max |  | 0 | 0 | 0%
| Min | Candidate measurements, μg/m3 Unit 1: 0; Candidate measurements, μg/m3 Unit 2: 0; Candidate measurements, μg/m3 Unit 3: 0 |  |  |  | Min |  | 0 | 0 | 0%
| Mean | [9 empty] | Mean | bar: Candidate measurements, μg/m3 Unit 1 to Candidate measurements, μg/m3 Unit 3
Note on P9: Precision as the standard deviation of the candidate method measurements, if more than one value entered.
Note on Q9: Precision of the candidate method data set, CPj [§53.35(f)(1), Equation 15], if more than one value is entered. CV = std. dev.(Col. Q)/mean(Col. P).
Note on L9: This information is provided only for information purposes; it is not used to determine validity of candidate method measurements.
Note on N9: Validity of the candidate data set is based on having at least 2 valid candidate measurements [§53.35(c)(2)] and a valid FRM data set with mean FRM concentration measurement between 3 and 300 μm/m3 [Table C-4].
Note on M9: The outlier test does not apply to candidate method measurements.
Note on O9: Mean of the candidate method concentration measurements, Cj [§53.35(d)(4), Equation 12].
Note on N134: See the "Precision" or "Regression" sheets for official calculations for valid data sets.
Note on O134: Unofficial - includes non-valid data sets. See the "Precision" or "Regression" sheets for official test purposes.
Note on O135: Unofficial - includes non-valid data sets. See the "Precision" or "Regression" sheets for official test purposes.
Note on O136: Unofficial - includes non-valid data sets. See the "Precision" or "Regression" sheets for official test purposes.
Note on O137: Unofficial - includes non-valid data sets. See the "Precision" or "Regression" sheets for official test purposes.
Note on O138: Unofficial - includes non-valid data sets. See the "Precision" or "Regression" sheets for official test purposes.
Note on P134: Unofficial - includes non-valid data sets.
Note on P135: Unofficial - includes non-valid data sets.
Note on P136: Unofficial - includes non-valid data sets.
Note on P137: Unofficial - includes non-valid data sets.
Note on P138: Unofficial - includes non-valid data sets.
Note on Q134: Unofficial - includes non-valid data sets. See the "Precision" sheet for precision for test purposes.
Note on Q135: Unofficial - includes non-valid data sets. See the "Precision" sheet for precision for test purposes.
Note on Q136: Unofficial - includes non-valid data sets. See the "Precision" sheet for precision for test purposes.
Note on Q137: Unofficial - includes non-valid data sets. See the "Precision" sheet for precision for test purposes.
Note on Q138: Unofficial - includes non-valid data sets. See the "Precision" sheet for precision for test purposes.
Note on C11: Enter date on which the data set was obtained.

## Precision
Calculation of Precision [53.35(e) and (f)]
| Applicant: | [9 empty] | Click on the ▼ arrow
| Candidate method: | [9 empty] | in the "Validity" column,
| Test site: | [9 empty] | then click on "ok" to select
only valid data sets.
Set | Test | # values |  | Data set | Data set mean, μg/m3 |  | Data set precision, μg/m3 |  | Relative precision (CV) |  | (Click "all" to restore all
No. | Date | FRM | Cand | Validity | FRM | Candidate | FRM | Candidate | FRM | Candidate | data sets.)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
[5 empty] | Data set mean, μg/m3 |  | Data set precision, μg/m3 |  | Relative precision (CV)
[5 empty] | FRM | Candidate | FRM | Candidate | FRM | Candidate
|  |  |  | No. valid data sets: | 0 | 0 | 0 | 0 | 0 | 0
Mean:
|  |  |  | Maximum: | 0 | 0 | 0 | 0 | 0% | 0%
|  |  |  | Minimum: | 0 | 0 | 0 | 0 | 0% | 0%
Candidate/FRM Ratio:
[9 empty] | FRM | Candidate
RMS Precision for site
[5 empty] | Test requirements - Class III |  |  |  | 10% | 15%
Precision Test Results for site
Note on K141: FRM precision for the test site is the root mean square (RMS) of the precisions of the FRM data sets [§53.35(e)(2), Equation 14].
Note on L141: Candidate method precision for the test site is the root mean square (RMS) of the precisions of the candidate data sets [§53.35(f)(2), Equation 16].
Note on F7: Enter "invalid" for any data set that is not valid.
Note on H7: Means of the FRM and Candidate method measurements for valid data sets [§53.35(d)(2) and (4), Equations 11 and 12, respectively].
Note on J7: Precisions as the standard deviation of the FRM and candidate method measurements, respectively. These precision values are not used directly for test purposes.
Note on L7: Precisions of the FRM and Candidate method valid data sets, RPj and CPj [§53.35(e)(1) and (f)(1), Equations13 and 15]. CV = std. dev.(Col. J or K)/mean(Col. H or I).
Note on H132: Means of the FRM and Candidate method measurements for valid data sets [§53.35(d)(2) and (4), Equations 11 and 12, respectively].
Note on J132: Precisions as the standard deviation of the FRM and candidate method measurements, respectively. These precision values are not used directly for test purposes.
Note on L132: Precisions of the FRM and Candidate method valid data sets, RPj and CPj [§53.35(e)(1) and (f)(1), Equations13 and 15]. CV = std. dev.(Col. J or K)/mean(Col. H or I).
Note on G142: Requirement for method precision [Table C-4].
Note on K142: Requirement for FRM method precision [Table C-4].
Note on L142: Requirement for Candidate method precision [Table C-4].
Note on J141: FRM precision for the test site is the root mean square (RMS) of the precisions of the FRM or Candidate data sets [§53.35(e)(2) or (f)(2), Equations 14 or 16].
Note on J143: Test results are based only on the calculated precision, not considering whether the number of valid data sets is sufficient.
Note on K143: Test result is based only on the calculated precision, not considering whether the number of valid data sets is sufficient.
Note on L143: Test result is based only on the calculated precision, not considering whether the number of valid data sets is sufficient.

## Regression
Calculation of Slope, Intercept, and Correlation [§53.35(g) and (h)]
Applicant:
Candidate method:
Test site:
If all the data sets consist of only 1 FRM measurement and only 1 candidate method measurement, then those values may be entered directly in the "Data set mean" columns here ▼ and here ▼ , in which case the Raw data and Precision spreadsheets are not used. If a data set is not valid, delete the "ok" here ▼.
Set | Test | # sets |  | Data set | Data set mean, μg/m3 |  | Please click on the ▼ arrow in the "Validity" column, then click on
No. | Date | FRM | Cand | Validity | FRM | Candidate | "ok" to select only valid data sets. (Click "all" to restore all sets.)
1 | [6 empty] | Comment….
2 | [6 empty] | Comment….
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
| FRM mean concentration (R-bar): | [5 empty] | Regression statistics |  | Slope1 | Intercept2 | Correlation (r)
| Candidate mean concentration (C-bar): | [5 empty] | Statistics for this test site:
| Candidate/FRM ratio: | [5 empty] | Limits for | Upper: | 1.1
| Number of valid data sets: |  |  |  |  | 0 | Class III | Lower: | 0.9
| CCV (FRM): | [6 empty] | Test Results (Pass/Fail):
| Data sets with FRM < 3 ug/m3 excluded: |  |  |  |  | 0 | 1Multiplicative bias 2Additive bias
[7 empty] | Intercept limits | Upper | Lower
PM2.5 Class II
PM2.5 Class III
PM10-2.5 Class II
PM10-2.5 Class III
Note on F9: Validity requires that both the corresponding FRM and candidate data sets or measurements are valid.
Note on H9: Means of the FRM and Candidate method measurements for valid data sets [§53.35(2) and (4), Equations 11 and 12, respectively].
Note on H134: Mean of the FRM method measurements for all valid data sets at the site, C-bar [§53.35(g)(1), Equation 17].
Note on H135: Mean of the Candidate method measurements for all valid data sets at the site, R-bar [§53.35(g)(2), Equations 18].
Note on H138: Concentration coefficient of variation (CCV) is the relative standard deviation (CV) of the valid FRM measurements for the site [§53.35(h)(2), Equation 22].
Note on M135: Calculated linear regression slope of the Candidate method versus the FRM method valid measurement pairs [§53.35(g)(3), Equation 19].
Note on N135: Calculated linear regression intercept of the Candidate method versus the FRM method valid measurement pairs [§53.35(g)(3), Equation 20].
Note on O135: Calculated (Pearson) correlation coefficient of the Candidate method versus the FRM method valid measurement pairs [§53.35(h)(1), Equation 21].
Note on M136: [Limit specified by Table C-4.]
Note on O137: [Limit specified by Table C-4.]
Note on L138: Test results are based only on the calculated values, not considering whether the number of valid data sets is sufficient.
Note on M138: Test result is based only on the calculated value, not considering whether the number of valid data sets is sufficient.
Note on N138: Test result is based only on the calculated value, not considering whether the number of valid data sets is sufficient.
Note on O138: Test result is based only on the calculated value, not considering whether the number of valid data sets is sufficient.
Note on N136: [Limit specified by Table C-4.]
Note on M137: [Limit specified by Table C-4.]
Note on N137: [Limit specified by Table C-4.]

## Summary
Summary - Candidate ARM Comparability
Applicant:
Candidate method:
Test site:
Data sets | [6 empty] | Number
Valid data sets available: | [6 empty] | 0
Number of valid data sets required for ARM Comparison: | [6 empty] | 90
Number of valid data sets for this test is: | [5 empty] | Insufficient
Additional data sets needed: | [6 empty] | 90
Precision |  |  | Data set mean, μg/m3 |  | Data set precision, μg/m3 |  | Relative precision (CV)
(if data are available) |  |  | FRM | Candidate | FRM | Candidate | FRM | Candidate
Mean:
|  | Maximum: | 0 | 0
|  | Minimum: | 0 | 0
Candidate / FRM Ratio:
RMS Relative Precision for this site:
|  |  | Test requirements - Class III: |  |  |  | 10% | 15%
Precision Test Results for site:
Regression statistics |  |  |  | Slope1 | Intercept2 | Correlation (r)
Statistics for this test site:
Limits for |  |  | Upper: | 1.1
Class III |  |  | Lower: | 0.9
Test Results (Pass/Fail):
1Multiplicative bias 2Additive bias
*If chart does not plot correctly, go to the Regression sheet and click on the ▼ in the Validity column and then on "ok." If new data
are added, click "all" then "ok" to include the new data.
Calculations for the intercept limits graphic:
Precision limit calculation |  |  | Limits | PM2.5-II |  | PM2.5-III |  | PMc-II |  | PMc-III |  | Applicable
Size | PM2.5 |  | Point | PM2.5-II-S | PM2.5-II-I | PM2.5-III-S | PM2.5-III-I | PMc-II-S | PMc-II-I | PMc-III-S | PMc-III-I | S | I
Size | PM2.5 |  | 1 | 0.9 | 1.5 | 0.9 | 2 | 0.9 | 3.5 | 0.88 | 7 | 0.9 | 2
Cat (II/III) | III |  | 2 | 1.0007 | 1.5 | 0.98864 | 2 | 1.0702 | 3.5 | 1.0383 | 7 | 0.98864 | 2
Comb | PM2.5-III- |  | 3 | 1.1 | 0.005 | 1.1 | 0.53 | 1.1 | 1.4 | 1.12 | 2.0008 | 1.1 | 0.53
|  |  | 4 | 1.1 | -1.5 | 1.1 | -2 | 1.1 | -3.5 | 1.12 | -7 | 1.1 | -2
|  |  | 5 | 0.99934 | -1.5 | 0.98441 | -2 | 0.92979 | -3.5 | 0.93452 | -7 | 0.98441 | -2
|  |  | 6 | 0.9 | -0.004 | 0.9 | -0.538 | 0.9 | -1.4 | 0.88 | -2.4784 | 0.9 | -0.538
|  |  | 7 | 0.9 | 1.5 | 0.9 | 2 | 0.9 | 3.5 | 0.88 | 7 | 0.9 | 2
Note on H24: Calculated linear regression slope of the Candidate method versus the FRM method valid measurement pairs [§53.35(g)(3), Equation 19].
Note on I24: Calculated linear regression intercept of the Candidate method versus the FRM method valid measurement pairs [§53.35(g)(3), Equation 20].
Note on J24: Calculated (Pearson) correlation coefficient of the Candidate method versus the FRM method valid measurement pairs [§53.35(h)(1), Equation 21].
Note on H25: [Limit specified by Table C-4.]
Note on I25: [Limit specified by Table C-4.]
Note on H26: [Limit specified by Table C-4.]
Note on I26: [Limit specified by Table C-4.]
Note on J26: [Limit specified by Table C-4.]
Note on I9: At least 90 valid data sets are required for the test site, with at least 20 valid sample sets in each season. [Sec. 2.4.1.5]
Note on H13: Means of the FRM and Candidate method measurements for valid data sets [§53.35(d)(2) and (4), Equations 11 and 12, respectively].
Note on J13: Precisions as the standard deviation of the FRM and candidate method measurements, respectively. These precision values are not used directly for test purposes.
Note on L13: Precisions of the FRM and Candidate method valid data sets, RPj and CPj if applicable. [§53.35(e)(1) and (f)(1), Equations13 and 15]. CV = std. dev.(Col. J or K)/mean(Col. H or I).
Note on J19: Precision for the test site (if applicable) is the root mean square (RMS) of the precisions of the FRM or Candidate data sets [§53.35(e)(2) or (f)(2), Equations 14 or 16].
Note on K19: FRM precision for the test site (if applicable) is the root mean square (RMS) of the precisions of the FRM data sets [§53.35(e)(2), Equation 14].
Note on L19: Candidate method precision for the test site (if applicable) is the root mean square (RMS) of the precisions of the candidate data sets [§53.35(f)(2), Equation 16].
Note on G20: Requirement for method precision [Part 53, Table C-4].
Note on K20: Requirement for FRM method precision [Part 53, Table C-4].
Note on L20: Requirement for Candidate method precision [Part 53, Table C-4].
Note on K21: Test result is based only on the calculated precision, not considering whether the number of valid data sets is sufficient.
Note on L21: Test result is based only on the calculated precision, not considering whether the number of valid data sets is sufficient.
Note on J21: Test results are based only on the calculated precision, not considering whether the number of valid data sets is sufficient.
Note on C27: Test results are based only on the calculated values, not considering whether the number of valid data sets is sufficient.
Note on H27: Test result is based only on the calculated value, not considering whether the number of valid data sets is sufficient.
Note on I27: Test result is based only on the calculated value, not considering whether the number of valid data sets is sufficient.
Note on J27: Test result is based only on the calculated value, not considering whether the number of valid data sets is sufficient.
Note on K9: At least 90 valid data sets are required for the test site, with at least 20 valid sample sets in each season. [Sec. 2.4.1.5]